## survey
type | name | label::English (en) | label::Nepali (ne) | required | relevant | constraint
begin_group | grp_survey_info | Survey Information & Consent | Survey Information & Consent
text | surveyor_name | Name of the surveyor conducting this survey | सम्बन्धित सर्भेक्षकको नाम | yes
date | survey_date | Date of the interview/survey | अन्तर्वार्ता/सर्वेक्षण गरिएको मिति | yes |  | .<=today()
select_multiple collection_method | data_collection_method | Method(s) used to collect the survey data | सर्वेक्षणको तथ्याङ्क संकलन गर्न प्रयोग गरिएको विधि(हरू) | yes
text | respondent_name | Name of the main respondent | मुख्य उत्तरदाताको नाम | yes
text | respondent_designation | Designation of the main respondent | मुख्य उत्तरदाताको पद | yes
text | respondent_contact | Contact number of the main respondent | मुख्य उत्तरदाताको सम्पर्क नम्बर |  |  | regex(.,'^[0-9]{7,10}$')
select_one yn | consent_given | Has the respondent given informed consent to participate in this survey? | के उत्तरदाताले यो सर्वेक्षणमा सहभागी हुन सूचित सहमति (informed consent) दिनुभएको छ? | yes
note | note_no_consent | Consent was not given. Please thank the respondent and end the survey. | सहमति प्राप्त भएन। कृपया उत्तरदातालाई धन्यवाद दिँदै सर्वेक्षण अन्त्य गर्नुहोस्। |  | ${consent_given}='no'
end_group | grp_survey_info
begin_group | grp_identity | Domain 1 — Facility Identity & Institutional Information / संस्था परिचय र संस्थागत जानकारी | Domain 1 — Facility Identity & Institutional Information / संस्था परिचय र संस्थागत जानकारी |  | ${consent_given}='yes'
text | facility_name | What is the name of the health facility? | स्वास्थ्य संस्थाको नाम के हो? | yes
text | facility_code | What is the official health facility code (HMIS/NHFR 10-digit unique code)? Use the government registry code if available (e.g., 1121400191 – Koshi Hospital) | स्वास्थ्य संस्थाको आधिकारिक कोड (HMIS/NHFR १०-अङ्कको युनिक कोड) के हो? उपलब्ध भएमा सरकारी दर्ता कोड प्रयोग गर्नुहोस् (जस्तै: ११२१४००१९१ – कोशी अस्पताल) |  |  | regex(.,'^[0-9]{8,12}$')
select_one facility_type | facility_type | What type of health facility is this? | यो कुन प्रकारको स्वास्थ्य संस्था हो? | yes
calculate | is_hospital |  |  |  |  | if(selected(${facility_type},'federal_hospital') or selected(${facility_type},'provincial_hospital') or selected(${facility_type},'district_hospital') or selected(${facility_type},'municipal_hospital') or selected(${facility_type},'primary_hospital') or selected(${facility_type},'private_hospital'),1,0)
calculate | is_higher_facility |  | अन्य संस्थाको प्रकार खुलाउनुहोस् |  |  | if(${is_hospital}=1 or selected(${facility_type},'phcc'),1,0)
text | facility_type_other | Specify the other facility type | यस संस्थाको स्वामित्व/व्यवस्थापनको प्रकार के हो? | yes | selected(${facility_type},'other')
select_one ownership_type | ownership_type | What is the ownership/management type of this facility? | मातृ संस्था वा व्यवस्थापन गर्ने निकायको नाम | yes
text | parent_organization | Name of the parent organization or managing authority | यो संस्था कुन सालमा स्थापना भएको हो? (वि.सं.)
integer | year_established | In which year was this facility established? (BS) | यो संस्था कुन नगरपालिका/गाउँपालिकामा अवस्थित छ? | yes |  | .>=1950 and .<=2090
text | municipality_name | In which Municipality/Rural Municipality is the facility located? | संस्था अवस्थित वडा नम्बर | yes
integer | ward_number | Ward number of the facility | संस्थाको बस्ती/टोल/स्थानीय ठेगाना | yes |  | .>=1 and .<=35
text | settlement_address | Settlement/tole/local address of the facility | संस्थाको GPS निर्देशकहरू (GPS coordinates)
geopoint | facility_gps | GPS coordinates of the facility | संस्थाको आधिकारिक सम्पर्क नम्बर | yes
text | facility_phone | Official contact number of the facility | संस्थाको आधिकारिक इमेल ठेगाना |  |  | regex(.,'^[0-9]{7,10}$')
text | facility_email | Official email address of the facility | संस्थाको आधिकारिक वेबसाइट वा सोसल मिडिया पेज
select_one web_presence | facility_web_presence | Official website or social media page of the facility | संस्था दर्ता सम्बन्धी जानकारीको मुख्य स्रोत
select_one registration_source | registration_source | Primary source of the facility registration information | मेडिकल सुपरिटेन्डेन्ट / संस्था प्रमुखको नाम
text | incharge_name | Name of the Medical Superintendent / Facility In-charge | मेडिकल सुपरिटेन्डेन्ट / संस्था प्रमुखको पद | yes
select_one incharge_designation | incharge_designation | Designation of the Medical Superintendent / Facility In-charge | मेडिकल सुपरिटेन्डेन्ट / संस्था प्रमुखको सम्पर्क नम्बर | yes
text | incharge_contact | Contact number of the Medical Superintendent / Facility In-charge | के अद्यावधिक सांगठनिक ढाँचा (organogram) उपलब्ध छ? |  |  | regex(.,'^[0-9]{7,10}$')
select_one avail_updated | organogram_available | Is an updated organizational structure (organogram) available? |  | yes
end_group | grp_identity
begin_group | grp_hr | Domain 2 — Human Resources & Staffing / जनशक्ति र कर्मचारी विवरण | Domain 2 — Human Resources & Staffing / जनशक्ति र कर्मचारी विवरण |  | ${consent_given}='yes'
integer | staff_total | Total number of staff in the health facility | स्वास्थ्य संस्थामा कुल कर्मचारी संख्या | yes |  | .>=0
integer | staff_male | Number of male staff | पुरुष कर्मचारी संख्या | yes |  | .>=0 and .<=${staff_total}
integer | staff_female | Number of female staff | महिला कर्मचारी संख्या | yes |  | .>=0 and (${staff_male}+.)<=${staff_total}
integer | staff_other_gender | Number of staff of other genders recorded | रेकर्ड गरिएका अन्य लिङ्गी कर्मचारी संख्या | yes |  | .>=0 and (${staff_male}+${staff_female}+.)<=${staff_total}
integer | staff_permanent | Number of permanent staff | स्थायी कर्मचारी संख्या | yes |  | .>=0 and .<=${staff_total}
integer | staff_contract | Number of contract or temporary staff | करार वा अस्थायी कर्मचारी संख्या | yes |  | .>=0 and (${staff_permanent}+.)<=${staff_total}
integer | staff_doctors | Number of doctors | डाक्टरहरूको संख्या | yes |  | .>=0
integer | staff_nurses | Number of nurses | नर्सहरूको संख्या | yes |  | .>=0
integer | staff_paramedics | Number of paramedics, Health Assistants, or AHWs | प्यारामेडिक्स, हेल्थ असिस्टेन्ट (HA), वा AHW हरूको संख्या | yes |  | .>=0
integer | staff_anm | Number of ANMs or midwives | ANM वा अनमी / मिडवाइफहरूको संख्या | yes |  | .>=0
integer | staff_lab | Number of laboratory technicians | प्रयोगशाला प्रविधिज्ञ (ल्याब प्राविधिक) हरूको संख्या | yes |  | .>=0
integer | staff_pharmacy | Number of pharmacists or pharmacy assistants | फार्मासिस्ट वा फार्मेसी सहायकहरूको संख्या | yes |  | .>=0
integer | staff_radiology | Number of radiology or imaging staff | रेडियोलोजी वा इमेजिङ कर्मचारीहरूको संख्या | yes | ${is_hospital}=1 | .>=0
integer | staff_biomedical | Number of biomedical equipment technicians or maintenance staff | बायोमेडिकल उपकरण प्राविधिक वा मर्मतसम्भार कर्मचारीहरूको संख्या | yes | ${is_hospital}=1 | .>=0
integer | staff_cleaners | Number of cleaners and sanitation staff in the facility | संस्थामा कार्यरत सरसफाइ तथा स्वच्छता कर्मचारीहरूको संख्या | yes |  | .>=0
integer | staff_ambulance_drivers | Number of ambulance drivers or emergency transport staff | एम्बुलेन्स चालक वा आपत्कालीन यातायात कर्मचारीहरूको संख्या | yes |  | .>=0
select_one always3 | clinical_staff_all_hours | Is at least one trained clinical staff member available during all operating hours at the facility? | के संस्था सञ्चालन हुने पूरा समय कम्तीमा एक जना तालिमप्राप्त क्लिनिकल कर्मचारी उपलब्ध हुन्छन्? | yes
select_one avail_updated | duty_roster | Is an updated staff duty roster available? | के अद्यावधिक कर्मचारी ड्युटी रोस्टर उपलब्ध छ? | yes
select_one plan_dev | emergency_staffing_plan | Does the facility have a written emergency staffing plan? | के संस्थासँग लिखित आपत्कालीन जनशक्ति योजना (emergency staffing plan) छ? | yes
select_one designated3 | disaster_focal_person | Has the facility designated a Disaster Focal Person? | के संस्थाले विपद् फोकल पर्सन (Disaster Focal Person) तोकेको छ? | yes
text | disaster_focal_name | Name of the Disaster Focal Person | विपद् फोकल पर्सनको नाम | yes | not(selected(${disaster_focal_person},'no'))
text | disaster_focal_contact | Contact number of the Disaster Focal Person | विपद् फोकल पर्सनको सम्पर्क नम्बर |  | not(selected(${disaster_focal_person},'no')) | regex(.,'^[0-9]{7,10}$')
select_one designated3 | fchv_focal_person | Has the facility designated an FCHV Focal Person? | के संस्थाले FCHV फोकल पर्सन तोकेको छ? | yes
text | fchv_focal_name | Name of the FCHV Focal Person | FCHV फोकल पर्सनको नाम | yes | not(selected(${fchv_focal_person},'no'))
select_one linkage3 | fchv_linkage | Does the facility have formal linkage with FCHVs or community health workers? | के संस्थाको महिला स्वास्थ्य स्वयंसेविका (FCHV) वा सामुदायिक स्वास्थ्य कार्यकर्ताहरूसँग औपचारिक सम्बन्ध/सञ्जाल छ? | yes
select_one trained3 | staff_heat_training | Have clinical staff received training on recognizing and managing heat-related illness during the past two years? | के क्लिनिकल कर्मचारीहरूले विगत दुई वर्षमा अत्यधिक गर्मीका कारण हुने बिरामीपन (heat-related illness) पहिचान र व्यवस्थापन सम्बन्धी तालिम पाएका छन्? | yes
select_one protected3 | outdoor_staff_protection | Are outdoor staff protected from heat exposure during peak heat hours? | के बाहिर काम गर्ने कर्मचारीहरूलाई अत्यधिक गर्मी हुने समयमा घाम/गर्मीबाट जोगिने व्यवस्था छ? | yes
select_one always3 | staff_water_rest | Are staff provided with adequate drinking water and rest breaks during extreme heat? | के अत्यधिक गर्मीको समयमा कर्मचारीहरूलाई पर्याप्त पिउने पानी र विश्रामको समय उपलब्ध गराइन्छ? | yes
end_group | grp_hr
begin_group | grp_services | Domain 3 — Service Capacity & Functionality / सेवा क्षमता र कार्यसञ्चालन | Domain 3 — Service Capacity & Functionality / सेवा क्षमता र कार्यसञ्चालन |  | ${consent_given}='yes'
select_multiple health_systems | health_systems | What health service system(s) are practiced in this facility? | यस संस्थामा कुन-कुन स्वास्थ्य सेवा प्रणाली(हरू) अभ्यास गरिन्छ? | yes
select_multiple service_categories | service_categories | What categories of health services are provided? | कुन-कुन वर्गका स्वास्थ्य सेवाहरू प्रदान गरिन्छ? | yes
select_one holiday_ops | holiday_operation | Does the facility operate during public holidays? | के यो संस्था सार्वजनिक बिदाका दिनहरूमा पनि सञ्चालन हुन्छ? | yes
select_one op_hours | operating_hours | Regular operating hours of the facility | संस्थाको नियमित सञ्चालन समय | yes
select_one service_full3 | opd_service | Is Outpatient Department (OPD) service available? | के बहिरङ्ग सेवा (OPD) उपलब्ध छ? | yes
select_one service_247 | emergency_service | Is emergency service available? | के आकस्मिक सेवा (Emergency) उपलब्ध छ? | yes
select_one capacity3 | inpatient_service | Is inpatient service available? | के अन्तरङ्ग सेवा (Inpatient) उपलब्ध छ? | yes
select_one functional3 | icu_service | Is Intensive Care Unit (ICU) service available? | के सघन उपचार कक्ष (ICU) सेवा उपलब्ध छ? | yes | ${is_hospital}=1
select_one functional3 | nicu_service | Is Neonatal ICU (NICU) service available? | के नवजात शिशु सघन उपचार कक्ष (NICU) सेवा उपलब्ध छ? | yes | ${is_hospital}=1
select_one service_247 | maternity_service | Is maternity and delivery service available? | के प्रसूति तथा डेलिभरी सेवा उपलब्ध छ? | yes
select_one service_full3 | lab_service | Is laboratory service available? | के प्रयोगशाला (ल्याब) सेवा उपलब्ध छ? | yes
select_one pharmacy3 | pharmacy_service | Is pharmacy service available? | के फार्मेसी/औषधि सेवा उपलब्ध छ? | yes
select_one service_full3 | radiology_service | Is radiology/imaging service available? | के रेडियोलोजी/इमेजिङ सेवा उपलब्ध छ? | yes | ${is_hospital}=1
select_one functional3 | dialysis_service | Is dialysis service available? | के डायलाइसिस सेवा उपलब्ध छ? | yes | ${is_hospital}=1
select_one blood3 | blood_bank | Is blood bank or blood storage service available? | के ब्लड बैंक वा रक्त सञ्चय सेवा उपलब्ध छ? | yes | ${is_hospital}=1
select_one ocmc3 | ocmc_service | Is a One-Stop Crisis Management Center (OCMC) available? | के एकद्वार सङ्कट व्यवस्थापन केन्द्र (OCMC) उपलब्ध छ? | yes | ${is_hospital}=1
select_one ssu3 | ssu_service | Is a Social Service Unit (SSU) available? | के सामाजिक सेवा इकाई (SSU) उपलब्ध छ? | yes | ${is_hospital}=1
select_one regular3 | anc_service | Is antenatal care (ANC) service available? | के गर्भवती जाँच्ने (ANC) सेवा उपलब्ध छ? | yes
select_one regular3 | pnc_service | Is postnatal care (PNC) service available? | के सुत्केरी जाँच्ने (PNC) सेवा उपलब्ध छ? | yes
select_one comprehensive3 | child_health | Are child health services available? | के बाल स्वास्थ्य सेवाहरू उपलब्ध छन्? | yes
select_one reg3 | outreach_clinics | Does the facility conduct outreach clinic services? | के संस्थाले घुम्ती क्लिनिक (outreach clinic) सेवा सञ्चालन गर्छ? | yes
select_one functional3 | other_critical_care | Are any other critical care services available at the facility? | के संस्थामा अन्य कुनै क्रिटिकल केयर सेवाहरू उपलब्ध छन्? | yes | ${is_hospital}=1
select_one isolation3 | isolation_capacity | Does the facility have isolation capacity? | के संस्थामा आइसोलेसन (अलग्गै राख्ने) क्षमता छ? | yes
end_group | grp_services
begin_group | grp_infrastructure | Domain 4 — Infrastructure, Utilities & WASH / पूर्वाधार, सुविधा तथा खानेपानी-सरसफाइ | Domain 4 — Infrastructure, Utilities & WASH / पूर्वाधार, सुविधा तथा खानेपानी-सरसफाइ |  | ${consent_given}='yes'
decimal | land_area_sqm | Total land area of the facility (m²) | संस्थाको कुल जग्गा क्षेत्रफल (वर्ग मिटरमा) |  |  | .>0
decimal | builtup_area_sqm | Total built-up area of the facility (m²) | संस्थाको कुल निर्मित भवन क्षेत्रफल (वर्ग मिटरमा) |  |  | .>0
integer | total_buildings | How many buildings are located within the facility compound? | संस्थाको हाताभित्र कुल कतिवटा भवनहरू छन्? | yes |  | .>=1 and .<=20
integer | clinical_buildings | How many buildings provide direct clinical services? | कतिवटा भवनबाट प्रत्यक्ष क्लिनिकल सेवाहरू प्रदान गरिन्छ? | yes |  | .>=0 and .<=${total_buildings}
integer | admin_buildings | How many administrative buildings are in the compound? | हाताभित्र प्रशासनिक भवनहरू कतिवटा छन्? | yes |  | .>=0 and .<=${total_buildings}
integer | critical_service_buildings | How many buildings are designated as critical-service buildings (Emergency, ICU, OT, Maternity)? | कतिवटा भवनलाई अति-आवश्यक सेवा भवन (Emergency, ICU, OT, Maternity) को रूपमा तोकिएको छ? | yes | ${is_hospital}=1 | .>=0 and .<=${total_buildings}
integer | functional_wards | How many functional wards are available? | कतिवटा सञ्चालनमा रहेका वार्डहरू उपलब्ध छन्? | yes | not(selected(${inpatient_service},'no')) | .>=0
integer | total_beds | Total bed capacity of the facility | संस्थाको कुल बेड क्षमता | yes |  | .>=0
integer | icu_beds | Number of ICU beds | ICU बेड संख्या | yes | not(selected(${icu_service},'no')) and ${is_hospital}=1 | .>=0 and .<=${total_beds}
integer | isolation_beds | Number of isolation beds | आइसोलेसन बेड संख्या | yes | not(selected(${isolation_capacity},'no')) | .>=0 and .<=${total_beds}
select_one road_type | road_type | Primary roadway type connecting to the nearest main road | नजिकैको मुख्य सडकसँग जोड्ने प्राथमिक सडकको प्रकार | yes
select_one avail_limited3 | local_transport | Are local transportation services connecting major communities to this facility readily available? | के प्रमुख समुदायहरूलाई यस संस्थासँग जोड्ने स्थानीय यातायात सेवाहरू सजिलै उपलब्ध छन्? | yes
select_one surge_space3 | surge_space | Is adequate open space/temporary treatment area available for surge capacity during emergencies and extreme heat? | के आपत्कालीन अवस्था र अत्यधिक गर्मीको बेला बिरामीको चाप धान्न पर्याप्त खुला ठाउँ/अस्थायी उपचार क्षेत्र उपलब्ध छ? | yes
integer | parking_spaces | Number of parking spaces within the compound | हाताभित्र पार्किङका लागि उपलब्ध ठाउँ संख्या |  |  | .>=0
decimal | open_space_area | Approximate open space area within the compound (m²) | हाताभित्र रहेको अनुमानित खुला क्षेत्र (वर्ग मिटरमा) |  |  | .>=0
select_one green_pct | green_space_pct | Proportion of the compound covered by green space (trees, lawns, gardens, vegetation) | हरियाली क्षेत्रले (रूख, घाँसे मैदान, बगैँचा) ओगटेको संस्थाको परिसरको अनुपात | yes
select_one shaded3 | compound_shading | Is the facility compound adequately shaded by trees or other landscape features? | के संस्थाको परिसरमा रूख वा अन्य प्राकृतिक संरचनाले पर्याप्त छाया पारेको छ? | yes
select_one waiting_shade3 | shaded_waiting_area | Are designated outdoor waiting areas protected from direct sunlight? | के तोकिएका बाहिरका पर्खाइ क्षेत्रहरू प्रत्यक्ष घामबाट जोगिने खालका छन्? | yes
select_one reliable3 | grid_reliability | Is the regular electricity supply generally reliable? | के नियमित विद्युत आपूर्ति सामान्यतया भरपर्दो छ? | yes
select_one freq3_rare | heat_blackouts | During extreme heat, does high temperature contribute to power overloads or blackouts? | अत्यधिक गर्मीको समयमा, के उच्च तापक्रमले पावर ओभरलोड वा बत्ती जाने (blackouts) समस्या ल्याउँछ? | yes
select_one generator3 | backup_generator | Is a functional backup generator available? | के चल्ने अवस्थाको ब्याकअप जेनेरेटर उपलब्ध छ? | yes
select_one fuel3 | generator_fuel | Is adequate fuel stock maintained for the backup generator? | के ब्याकअप जेनेरेटरका लागि पर्याप्त इन्धन मौज्दात राखिएको छ? | yes | not(selected(${backup_generator},'not_available'))
select_one tested3 | generator_tested | Has the backup generator been tested within the past month? | के ब्याकअप जेनेरेटर पछिल्लो एक महिनाभित्र परीक्षण गरिएको छ? | yes | not(selected(${backup_generator},'not_available'))
select_one solar3 | solar_installed | Is a solar power system installed? | के सोलार पावर सिस्टम जडान गरिएको छ? | yes
select_one solar_loads3 | solar_loads | Does the solar system support essential loads (lighting, charging, refrigeration)? | के सोलार सिस्टमले अत्यावश्यक लोडहरू (बत्ती, चार्जिङ, रेफ्रिजरेसन) लाई धान्छ? | yes | not(selected(${solar_installed},'not_installed'))
select_one backup_dur3 | backup_duration | For how long can the backup power system operate continuously during an outage? | बत्ती जाँदा ब्याकअप पावर सिस्टमले लगातार कति समयसम्म काम गर्न सक्छ? | yes | not(selected(${backup_generator},'not_available')) or not(selected(${solar_installed},'not_installed'))
select_one ups3 | ups_available | Is an Uninterruptible Power Supply (UPS) available for critical equipment? | के संवेदनशील उपकरणहरूका लागि अनइन्टरप्टिबल पावर सप्लाई (UPS) उपलब्ध छ? | yes
select_one protected3b | o2_concentrator_backup | Are oxygen concentrators protected from power outages (UPS/generator/other backup)? | के अक्सिजन कन्सन्ट्रेटरहरू विद्युत अवरोधबाट सुरक्षित छन् (UPS/जेनेरेटर/अन्य ब्याकअप)? | yes
select_one protected3na | ventilator_backup | Are ventilators protected from power outages? | के भेन्टिलेटरहरू विद्युत अवरोधबाट सुरक्षित छन्? | yes | ${is_hospital}=1
select_one protected3na | infusion_pump_backup | Are infusion pumps protected from power outages? | के इन्फ्युजन पम्पहरू विद्युत अवरोधबाट सुरक्षित छन्? | yes | ${is_hospital}=1
select_one cc_avail3 | coldchain_available | Does the facility have cold-chain or vaccine-refrigeration equipment? | के संस्थासँग कोल्ड-चेन वा खोप रेफ्रिजरेसन उपकरणहरू छन्? | yes
select_one cc_func3 | coldchain_functional | Is the cold-chain equipment functional? | के कोल्ड-चेन उपकरणहरू सञ्चालनमा छन्? | yes | not(selected(${coldchain_available},'not_available'))
select_one cc_backup3 | coldchain_backup | Is the cold-chain equipment connected to backup power? | के कोल्ड-चेन उपकरण ब्याकअप पावरमा जोडिएको छ? | yes | not(selected(${coldchain_available},'not_available'))
select_one logs3 | coldchain_logs | Are cold-chain temperature logs maintained regularly? | के कोल्ड-चेनको तापक्रम लग (temperature log) नियमित रूपमा राखिन्छ? | yes | not(selected(${coldchain_available},'not_available'))
select_one never3 | coldchain_failure | Has cold-chain failure occurred during hot days or power outages? | के गर्मी दिनहरू वा बत्ती जाँदा कोल्ड-चेन बिग्रिने समस्या भएको छ? | yes | not(selected(${coldchain_available},'not_available'))
select_one plan_tested3 | coldchain_contingency | Does the facility have a documented contingency plan for cold-chain failure? | के संस्थासँग कोल्ड-चेन बिग्रिएमा अपनाउने पूर्व-तयारी योजना (contingency plan) छ? | yes | not(selected(${coldchain_available},'not_available'))
select_one water_source | water_source | What is the primary water source of the facility? | संस्थाको खानेपानीको मुख्य स्रोत के हो? | yes
select_one water_cont3 | water_continuity | Is the water supply continuous throughout the day? | के पानीको आपूर्ति दिनभरि निरन्तर हुन्छ? | yes
select_one never3 | water_shortage_hot | Has the facility experienced water shortage during the hot/dry season? | के संस्थाले अत्यधिक गर्मी/सुखा याममा पानीको अभाव भोग्नुपरेको छ? | yes
select_one storage3 | water_storage | Does the facility have adequate water storage capacity (tanks/reservoirs)? | के संस्थासँग पर्याप्त पानी भण्डारण क्षमता (ट्याङ्की/रिजर्भवायर) छ? | yes
select_one treatment3 | water_treatment | Is the water treated before use (filtration, chlorination, boiling)? | के पानी प्रयोग गर्नुअघि प्रशोधन (फिल्टर, क्लोरिनेसन, उमाल्ने) गरिन्छ? | yes
select_one drinking3 | drinking_water_patients | Is safe drinking water available for patients and visitors? | के बिरामी र कुरुवा/आगन्तुकहरूका लागि सुरक्षित पिउने पानी उपलब्ध छ? | yes
integer | toilets_functional | Number of functional toilets at the facility | संस्थामा चल्ने अवस्थामा रहेका शौचालय संख्या | yes |  | .>=0
select_one yn_partial | toilets_gender_separate | Are separate toilets available for males and females? | के महिला र पुरुषका लागि छुट्टाछुट्टै शौचालय उपलब्ध छन्? | yes | ${toilets_functional}>0
select_one yn_partial | toilet_disability_access | Is at least one toilet accessible for persons with disabilities? | के कम्तीमा एउटा शौचालय अपाङ्गता भएका व्यक्तिहरूका लागि पहुँचयोग्य छ? | yes | ${toilets_functional}>0
select_one handwash3 | handwashing_stations | Are functional handwashing stations with soap and water available at key points? | के मुख्य-मुख्य ठाउँहरूमा साबुन-पानीसहितको हात धुने ठाउँहरू उपलब्ध छन्? | yes
select_one drainage3 | wastewater_drainage | Is wastewater drainage from the facility adequate? | के संस्थाबाट निस्कने ढल/धमिलो पानीको निकास पर्याप्त छ? | yes
end_group | grp_infrastructure
begin_group | grp_medicines | Domain 5 — Medicines, Equipment & Supply Chain / औषधि, उपकरण तथा आपूर्ति शृङ्खला | Domain 5 — Medicines, Equipment & Supply Chain / औषधि, उपकरण तथा आपूर्ति शृङ्खला |  | ${consent_given}='yes'
select_one adequate3 | thermometers | Are thermometers available and functional? | के थर्मोमिटरहरू उपलब्ध र चल्ने अवस्थामा छन्? | yes
select_one avail_access3 | highrange_thermometer | Is a high-range thermometer available for assessing suspected heatstroke? | के अत्यधिक गर्मीका कारण हुन सक्ने हिटस्ट्रोक (heatstroke) जाँच्न उच्च-दायरा (high-range) को थर्मोमिटर उपलब्ध छ? | yes
select_one adequate3 | bp_sets | Are blood pressure monitoring sets available and functional? | के रक्तचाप जाँच्ने सेटहरू उपलब्ध र चल्ने अवस्थामा छन्? | yes
select_one areas3 | ward_thermometers | Are clinical thermometers available in OPD and inpatient wards? | के बहिरङ्ग (OPD) र अन्तरङ्ग वार्डहरूमा क्लिनिकल थर्मोमिटर उपलब्ध छन्? | yes
select_one avail_rare3 | rectal_thermometer | Is a rectal thermometer available for core temperature survey in suspected heatstroke? | के हिटस्ट्रोकको शङ्का लागेका बिरामीको भित्री तापक्रम जाँच्न रेक्टल (rectal) थर्मोमिटर उपलब्ध छ? | yes | ${is_higher_facility}=1
select_one adequate3 | pulse_oximeters | Are pulse oximeters available and functional? | के पल्स अक्सिमिटरहरू उपलब्ध र चल्ने अवस्थामा छन्? | yes
integer | ventilators_total | Number of ventilators available at the facility | संस्थामा उपलब्ध भेन्टिलेटर संख्या | yes | ${is_hospital}=1 | .>=0
integer | ventilators_functional | Number of functional ventilators | चल्ने अवस्थामा रहेका भेन्टिलेटर संख्या | yes | ${is_hospital}=1 and ${ventilators_total}>0 | .>=0 and .<=${ventilators_total}
integer | oxygen_plants | Number of functional oxygen plants | चालु अवस्थामा रहेका अक्सिजन प्लान्ट संख्या | yes | ${is_hospital}=1 | .>=0
select_one adequate3 | medical_fridges | Are refrigerators/freezers available for medical and laboratory use? | के मेडिकल तथा ल्याब प्रयोगका लागि फ्रिज/फ्रिजरहरू उपलब्ध छन्? | yes
select_one never3 | equipment_overheating | Has medical or electrical equipment overheated or malfunctioned during hot days? | के गर्मी दिनहरूमा स्वास्थ्य वा विद्युत उपकरणहरू अत्यधिक तातिएर बिग्रिने वा काम नगर्ने भएका छन्? | yes
select_one cooling3 | cooling_materials | Are emergency cooling materials available for managing heat-related illness (ice packs, cooling blankets, sprays)? | के अत्यधिक गर्मीका कारण हुने बिरामीपन व्यवस्थापनका लागि आपत्कालीन कुलिङ सामग्रीहरू (आइस प्याक, कुलिङ ब्ल्याङ्केट, स्प्रे) उपलब्ध छन्? | yes
select_one bmet3 | bmet_available | Are staff trained in biomedical equipment maintenance, or is a BMET-designated person available? | के कर्मचारीहरू बायोमेडिकल उपकरण मर्मतसम्भारमा तालिमप्राप्त छन्, वा बायोमेडिकल प्राविधिक तोकिएको छ? | yes
select_one stock3 | essential_medicines | Are essential medicines generally available in adequate quantities? | के अत्यावश्यक औषधिहरू सामान्यतया पर्याप्त मात्रामा उपलब्ध छन्? | yes
select_one stock3b | emergency_medicines | Are emergency medicines available in adequate quantities? | के आपत्कालीन औषधिहरू पर्याप्त मात्रामा उपलब्ध छन्? | yes
select_one stock3b | ors_stock | Is ORS available in adequate quantities? | के जीवनजल (ORS) पर्याप्त मात्रामा उपलब्ध छ? | yes
select_one iv3 | iv_fluid_3day | Is the IV fluid stock adequate for at least a three-day surge in dehydration and heat-illness cases? | के जलवियोजन र गर्मीबाट हुने बिरामीको अचानक चाप बढेमा कम्तीमा तीन दिनका लागि IV फ्लुइड (सलाइन) को मौज्दात पर्याप्त छ? | yes
select_one stock3c | cardiac_medicines | Are emergency cardiac medicines adequate for a surge in heat-related cardiovascular cases? | के गर्मीका कारण हृदयघात वा मुटुरोगका बिरामी बढेमा प्रयोग हुने आपत्कालीन मुटु सम्बन्धी औषधिहरू पर्याप्त छन्? | yes | ${is_higher_facility}=1
select_one everyyear3 | buffer_before_summer | Is medicine buffer stock increased before the summer season? | के गर्मी याम सुरु हुनुअघि औषधिको बफर स्टक (अतिरिक्त मौज्दात) बढाइन्छ? | yes
select_one preposition3 | prepositioning | Are heatwave-related medicines and supplies pre-positioned before the summer season? | के तातोलहर (heatwave) सम्बन्धी औषधि र सामग्रीहरू गर्मी मौसम अगावै भण्डारण/तयार गरी राखिन्छ? | yes
select_one protected3c | storage_heat_protection | Is medicine storage protected from excessive heat? | के औषधि भण्डारणलाई अत्यधिक गर्मीबाट सुरक्षित राखिएको छ? | yes
select_one never3 | meds_heat_damage | Have medicines been damaged, degraded, or discarded due to excessive heat? | के अत्यधिक गर्मीका कारण औषधिहरू बिग्रिएर, गुणस्तर घटेर वा फ्याँक्नु परेको छ? | yes
select_one reliable3b | procurement_reliable | Does the facility have a reliable procurement system for medicines and supplies? | के संस्थासँग औषधि र सामग्री आपूर्तिको भरपर्दो खरिद प्रणाली छ? | yes
select_one never3 | supply_disruption | Has the facility experienced supply-chain disruptions during previous extreme weather events? | के संस्थाले विगतका प्रतिकूल मौसमका घटनाहरूमा आपूर्ति शृङ्खला अवरुद्ध भएको अनुभव गरेको छ? | yes
select_one plan_dev | logistics_plan | Does the facility have a documented emergency logistics plan? | के संस्थासँग लिखित आपत्कालीन लजिस्टिक योजना छ? | yes
select_one always3 | heat_sensitive_storage | Are heat-sensitive medicines stored within recommended temperature ranges? | के गर्मीप्रति संवेदनशील औषधिहरू तोकिएको तापक्रमभित्रै भण्डारण गरिन्छ? | yes
select_one protected3c | reagent_protection | Are laboratory reagents protected from excessive heat? | के ल्याबमा प्रयोग हुने रियाजेन्टहरूलाई अत्यधिक गर्मीबाट सुरक्षित राखिएको छ? | yes | not(selected(${lab_service},'no'))
select_one storage_adeq3 | storage_adequacy | Are storage facilities adequate for medicines and supplies? | के औषधि र सामग्रीका लागि भण्डारण सुविधाहरू पर्याप्त छन्? | yes
select_one agreement3 | alt_suppliers | Does the facility have agreements with alternate suppliers during emergencies? | के आपत्कालीन अवस्थाका लागि संस्थाको वैकल्पिक आपूर्तिकर्ताहरूसँग सम्झौता छ? | yes
select_one digital3 | elmis | Is the medicine and supply chain monitored digitally (eLMIS or other software)? | के औषधि र आपूर्ति शृङ्खलालाई डिजिटल रूपमा (eLMIS वा अन्य सफ्टवेयर) अनुगमन गरिन्छ? | yes
end_group | grp_medicines
begin_group | grp_governance | Domain 6 — Governance, Financing & Management / सुशासन, वित्त व्यवस्थापन तथा प्रशासन | Domain 6 — Governance, Financing & Management / सुशासन, वित्त व्यवस्थापन तथा प्रशासन |  | ${consent_given}='yes'
select_one committee3 | hmc_functional | Is the Health Facility Management Committee (HMC/HFOMC) functional? | के स्वास्थ्य संस्था व्यवस्थापन समिति (HMC/HFOMC) क्रियाशील छ? | yes
select_one reg3 | hmc_meetings | Does the management committee meet regularly? | के व्यवस्थापन समितिको बैठक नियमित रूपमा बस्छ? | yes | not(selected(${hmc_functional},'not_formed'))
select_one agenda3 | hmc_heat_agenda | Has the management committee discussed heatwave preparedness in its meetings? | के व्यवस्थापन समितिले आफ्ना बैठकहरूमा तातोलहर (heatwave) पूर्वतयारीबारे छलफल गरेको छ? | yes | not(selected(${hmc_functional},'not_formed'))
select_one budget3 | annual_budget | Does the facility have an approved annual budget? | के संस्थाको स्वीकृत वार्षिक बजेट छ? | yes
select_one fund3 | contingency_fund | Is a contingency/emergency fund available? | के आकस्मिक/आपत्कालीन कोष उपलब्ध छ? | yes
select_one authority3 | fund_authority | Does the facility in-charge have the authority to use emergency funds without delay? | के संस्था प्रमुखलाई बिना ढिलाइ आपत्कालीन कोष प्रयोग गर्ने अधिकार छ? | yes | not(selected(${contingency_fund},'not_available'))
select_one budget_heat3 | heat_budget | Has budget been allocated for heat-resilience infrastructure or supplies (cooling, shading, water)? | के तातोलहर अनुकूल पूर्वाधार वा सामग्री (चिस्यान, छाया, पानी) का लागि बजेट विनियोजन गरिएको छ? | yes
select_one support3 | localgov_support | Does the facility receive financial or technical support from the local government? | के संस्थाले स्थानीय सरकारबाट वित्तीय वा प्राविधिक सहयोग प्राप्त गर्दछ? | yes
select_one support3 | provfed_support | Does the facility receive support from provincial or federal programs? | के संस्थाले प्रदेश वा सङ्घीय कार्यक्रमहरूबाट सहयोग प्राप्त गर्दछ? | yes
select_one integrated3 | hap_integrated | Is the facility integrated into the municipal or district Heat Action Plan framework? | के संस्था पालिका वा जिल्ला स्तरको तातोलहर कार्ययोजना (Heat Action Plan) ढाँचामा आबद्ध छ? | yes
select_one records3 | financial_records | Are financial records maintained and audited? | के वित्तीय अभिलेखहरू सुरक्षित राखिन्छ र लेखापरीक्षण गरिन्छ? | yes
select_one records3b | procurement_records | Are procurement records maintained transparently? | के खरिद सम्बन्धी अभिलेखहरू पारदर्शी रूपमा राखिन्छ? | yes
select_one register3 | asset_register | Is an updated asset register maintained? | के अद्यावधिक जिन्सी/सम्पत्ति विवरण (asset register) राखिएको छ? | yes
select_one reg3 | capacity_building | Do staff receive management or capacity-building training? | के कर्मचारीहरूले व्यवस्थापन वा क्षमता अभिवृद्धि तालिम पाउँछन्? | yes
select_one grievance3 | grievance_mechanism | Is a functional grievance/complaint mechanism available for patients? | के बिरामीहरूका लागि गुनासो/सुनुवाइ सम्बन्धी प्रभावकारी संयन्त्र उपलब्ध छ? | yes
select_one display3 | service_info_display | Is service and citizen-charter information publicly displayed? | के सेवा र नागरिक बडापत्र सम्बन्धी जानकारी सार्वजनिक रूपमा राखिएको/देखाएको छ? | yes
select_one reg3 | municipal_coordination | Does the facility coordinate with the Municipal Health Section? | के संस्थाले नगर/गाउँपालिकाको स्वास्थ्य शाखासँग समन्वय गर्छ? | yes
select_one reg3 | municipal_meetings | Does the facility participate in municipal-level health review meetings? | के संस्था स्थानीय तहको स्वास्थ्य समीक्षा बैठकहरूमा सहभागी हुन्छ? | yes
select_one support_vuln3 | vulnerable_support | Are support mechanisms available for poor and vulnerable patients (free care, subsidies)? | के गरीब तथा विपन्न बिरामीहरूका लागि सहयोग संयन्त्र (निःशुल्क उपचार, छुट) उपलब्ध छ? | yes
select_one comm3 | alert_staff_communication | Is there a mechanism to rapidly communicate heat alerts to all staff? | के सबै कर्मचारीहरूलाई गर्मी सम्बन्धी पूर्वसूचना तत्काल पठाउने/सञ्चार गर्ने संयन्त्र छ? | yes
select_one yn | community_warning | Does the facility share early warning information with the community? | के संस्थाले पूर्वसूचना सम्बन्धी जानकारी समुदायमा सेयर गर्छ? | yes
select_multiple warning_channels | warning_channels | Which channels are used to communicate early warnings to the community? | समुदायमा पूर्वसूचना सञ्चार गर्न कुन-कुन माध्यमहरू प्रयोग गरिन्छ? | yes | ${community_warning}='yes'
text | warning_channels_other | Specify the other communication channel | अन्य सञ्चार माध्यम खुलाउनुहोस् | yes | selected(${warning_channels},'other')
select_one insurance3 | insurance_program | Is the facility enrolled in the national health insurance program? | के संस्था राष्ट्रिय स्वास्थ्य बिमा कार्यक्रममा आबद्ध छ? | yes
select_one internet3 | internet_access | Does the facility have internet access? | के संस्थामा इन्टरनेट पहुँच छ? | yes
select_multiple payment_options | payment_options | What payment options are available for patients? | बिरामीहरूका लागि भुक्तानीका कुन-कुन विकल्पहरू उपलब्ध छन्? | yes
select_one aar3 | after_action_review | Does the facility conduct after-action reviews following emergencies or disasters? | के संस्थाले आपत्कालीन वा विपद्का घटनाहरूपछि समीक्षा (after-action review) गर्छ? | yes
select_one documented3 | aar_documented | Are lessons from after-action reviews documented and acted upon? | के घटनापछिको समीक्षाबाट सिकिएका पाठहरू अभिलेखीकरण गरिन्छ र कार्यान्वयनमा ल्याइन्छ? | yes | not(selected(${after_action_review},'never'))
select_one reg3 | coord_pheoc | Does the facility coordinate with the PHEOC/HEOC (Provincial/Health Emergency Operations Center)? | के संस्थाले PHEOC/HEOC (प्रदेश/स्वास्थ्य आपत्कालीन कार्यसञ्चालन केन्द्र) सँग समन्वय गर्छ? | yes
select_one reg3 | coord_localgov_disaster | Does the facility coordinate with the local disaster management committee (LDMC)? | के संस्थाले स्थानीय विपद् व्यवस्थापन समिति (LDMC) सँग समन्वय गर्छ? | yes
select_one reg3 | coord_redcross | Does the facility coordinate with the Nepal Red Cross Society? | के संस्थाले नेपाल रेडक्रस सोसाइटीसँग समन्वय गर्छ? | yes
select_one reg3 | coord_security | Does the facility coordinate with police, APF, or fire services for emergencies? | के संस्थाले आपत्कालीन अवस्थाका लागि प्रहरी, सशस्त्र प्रहरी बल (APF) वा दमकल सेवाहरूसँग समन्वय गर्छ? | yes
select_one reg3 | coord_ngo | Does the facility coordinate with NGOs/INGOs working in health or disaster management? | के संस्थाले स्वास्थ्य वा विपद् व्यवस्थापनमा काम गर्ने गैरसरकारी/अन्तर्राष्ट्रिय गैरसरकारी संस्थाहरू (NGOs/INGOs) सँग समन्वय गर्छ? | yes
select_one reg3 | coord_disaster_meetings | Does the facility participate in municipal or district disaster-management meetings? | के संस्था पालिका वा जिल्ला स्तरका विपद् व्यवस्थापन बैठकहरूमा सहभागी हुन्छ? | yes
end_group | grp_governance
begin_group | grp_his | Domain 7 — Health Information, Surveillance & Reporting / स्वास्थ्य सूचना, निगरानी तथा प्रतिवेदन | Domain 7 — Health Information, Surveillance & Reporting / स्वास्थ्य सूचना, निगरानी तथा प्रतिवेदन |  | ${consent_given}='yes'
select_one records_sys3 | patient_records | Does the facility maintain systematic patient records? | के संस्थाले प्रणालीगत रूपमा बिरामीको अभिलेख राख्छ? | yes
select_one timely3 | hmis_reporting | Are HMIS reports submitted regularly and on time? | के HMIS प्रतिवेदनहरू नियमित र समयमै बुझाइन्छ? | yes
select_one register3b | opd_register | Is the OPD register maintained properly? | के बहिरङ्ग (OPD) दर्ता रजिस्टर राम्रोसँग राखिएको छ? | yes
select_one register3b | er_register | Is the emergency register maintained properly? | के आकस्मिक (Emergency) दर्ता रजिस्टर राम्रोसँग राखिएको छ? | yes | not(selected(${emergency_service},'no'))
select_one register3b | ipd_register | Are inpatient records maintained properly? | के अन्तरङ्ग (Inpatient) अभिलेखहरू राम्रोसँग राखिएका छन्? | yes | not(selected(${inpatient_service},'no'))
select_one reg3 | hot_month_review | Are OPD and emergency data reviewed specifically during hot months? | के अत्यधिक गर्मी हुने महिनाहरूमा OPD र आकस्मिक कक्षको तथ्याङ्क विशेष रूपमा समीक्षा गरिन्छ? | yes
select_one surveillance3 | surveillance_system | Does the facility participate in a disease surveillance system (EWARS or similar)? | के संस्था रोग निगरानी प्रणाली (EWARS वा सोह्रै सरह) मा सहभागी छ? | yes
select_one mechanism3 | epidemic_warning | Is there a mechanism to detect and report unusual disease patterns or outbreaks? | के असामान्य रोगका लक्षण वा प्रकोपहरू पत्ता लगाउने र प्रतिवेदन गर्ने संयन्त्र छ? | yes
select_one reported3 | unusual_increase_reported | Have unusual increases in illness been reported to higher authorities when observed? | के बिरामीको संख्यामा असामान्य वृद्धि देखिँदा माथिल्लो निकायमा जानकारी गराइएको छ? | yes
select_one register3b | referral_records | Are referral-out records maintained? | के रिफर (अन्यत्र पठाइएका) बिरामीहरूको अभिलेख राखिन्छ? | yes
select_one register3b | mortality_records | Are facility mortality records maintained? | के संस्थामा हुने मृत्युको अभिलेख राखिन्छ? | yes
select_one register3b | stockout_records | Are medicine stock-out records maintained? | के औषधिको मौज्दात सकिएको (stock-out) अभिलेख राखिन्छ? | yes
select_one register3b | disruption_records | Are service disruption events (power, water, staffing) recorded? | के सेवा अवरुद्ध भएका घटनाहरू (विद्युत, पानी, जनशक्ति) रेकर्ड गरिन्छ? | yes
select_one reg3 | data_review_meetings | Are facility data reviewed in staff or management meetings? | के संस्थाको तथ्याङ्क कर्मचारी वा व्यवस्थापन बैठकहरूमा समीक्षा गरिन्छ? | yes
select_one used3 | data_for_planning | Are data used for local planning and decision-making? | के तथ्याङ्क स्थानीय योजना र निर्णय प्रक्रियामा प्रयोग गरिन्छ? | yes
select_one computers3 | computers_available | Are computers or digital devices available for record-keeping? | के अभिलेख राख्नका लागि कम्प्युटर वा डिजिटल उपकरणहरू उपलब्ध छन्? | yes
select_one formats3 | reporting_formats | Are standard reporting formats and registers available? | के मानक प्रतिवेदन ढाँचा र रजिस्टरहरू उपलब्ध छन्? | yes
select_one recorded3 | heat_diagnosis_recorded | Are heat-related diagnoses (heatstroke, heat exhaustion, dehydration) recorded separately in the OPD register or HMIS? | के गर्मी सम्बन्धी रोगहरू (हिटस्ट्रोक, अत्याधिक गर्मीले हुने थकान, जलवियोजन) OPD रजिस्टर वा HMIS मा छुट्टाछुट्टै रेकर्ड गरिन्छ? | yes
select_one analysis3 | temp_disease_analysis | Does the facility analyze the relationship between temperature and disease trends? | के संस्थाले तापक्रम र रोगको प्रवृत्तिका बीचको सम्बन्ध विश्लेषण गर्छ? | yes
select_one review3 | heat_death_review | Are suspected heat-related deaths reviewed or audited? | के तातोलहरका कारण भएको शङ्कास्पद मृत्युको समीक्षा वा लेखाजोखा गरिन्छ? | yes
select_one reported3b | heat_data_reporting | Are heat-related illness data reported to district or municipal health authorities? | के तातोलहरबाट हुने बिरामीपनको तथ्याङ्क जिल्ला वा पालिकाका स्वास्थ्य निकायमा प्रतिवेदन गरिन्छ? | yes
end_group | grp_his
begin_group | grp_referral | Domain 8 — Referral Services / प्रेषण सेवा | Domain 8 — Referral Services / प्रेषण सेवा |  | ${consent_given}='yes'
select_one referral3 | referral_service | Does the facility provide referral services to higher-level facilities? | के संस्थाले माथिल्लो स्तरका स्वास्थ्य संस्थाहरूमा रिफर (प्रेषण) सेवा प्रदान गर्छ? | yes
select_one protocol3 | referral_protocol | Is a written referral protocol or SOP available? | के लिखित रिफर प्रोटोकल वा कार्यविधि (SOP) उपलब्ध छ? | yes
select_one designated_ref3 | designated_hospital | Is a designated referral hospital identified? | के रिफर गर्ने निश्चित अस्पताल तोकिएको छ? | yes
select_one travel_time | travel_time_normal | Travel time to the designated referral hospital in normal conditions | सामान्य अवस्थामा तोकिएको रिफर अस्पताल पुग्न लाग्ने समय | yes | not(selected(${designated_hospital},'not_identified'))
select_one travel_time | travel_time_monsoon | Travel time to the referral hospital during monsoon or road disruption | वर्षायाम वा बाटो अवरुद्ध हुँदा रिफर अस्पताल पुग्न लाग्ने समय | yes | not(selected(${designated_hospital},'not_identified'))
select_one register3b | referral_register | Are referral registers maintained with patient outcomes? | के बिरामीको अवस्था/परिणामसहितको रिफर रजिस्टर राखिन्छ? | yes
select_one feedback3 | referral_feedback | Does the facility receive feedback from referral hospitals? | के संस्थाले रिफर गरिएका अस्पतालहरूबाट प्रतिक्रिया/फिडब्याक पाउँछ? | yes
select_one ambulance3 | ambulance_available | Is ambulance service available for this facility? | के यस संस्थाका लागि एम्बुलेन्स सेवा उपलब्ध छ? | yes
integer | ambulance_count | Number of functional ambulances | चालु अवस्थामा रहेका एम्बुलेन्स संख्या | yes | not(selected(${ambulance_available},'not_available')) | .>=0
select_one always3 | ambulance_24hr | Is the ambulance service available 24 hours? | के एम्बुलेन्स सेवा २४ सै घण्टा उपलब्ध छ? | yes | not(selected(${ambulance_available},'not_available'))
select_one equipped3 | ambulance_equipped | Is the ambulance equipped with basic emergency equipment (oxygen, first aid)? | के एम्बुलेन्समा आधारभूत आपत्कालीन उपकरणहरू (अक्सिजन, प्राथमिक उपचार) जडान गरिएका छन्? | yes | not(selected(${ambulance_available},'not_available'))
select_one driver3 | ambulance_driver | Is a trained ambulance driver available on call? | के बोलाउनासाथ आउने तालिमप्राप्त एम्बुलेन्स चालक उपलब्ध छन्? | yes | not(selected(${ambulance_available},'not_available'))
select_one alt_transport3 | alt_transport | Are alternative transport arrangements identified when the ambulance is unavailable? | के एम्बुलेन्स उपलब्ध नहुँदा वैकल्पिक यातायातको व्यवस्था पहिचान गरिएको छ? | yes
select_one directory3 | emergency_directory | Is an updated emergency contact directory available (referral hospitals, ambulances, authorities)? | के अद्यावधिक आपत्कालीन सम्पर्क नम्बरको सूची (रिफर अस्पताल, एम्बुलेन्स, अधिकारीहरू) उपलब्ध छ? | yes
select_one pathway3 | heatstroke_pathway | Is a specific referral pathway defined for severe heatstroke cases? | के गम्भीर हिटस्ट्रोकका बिरामीका लागि विशेष रिफर मार्ग/प्रक्रिया (referral pathway) तोकिएको छ? | yes
select_one mobilize3 | extra_ambulance_mobilization | Can additional ambulances be mobilized during mass heat-illness events? | के तातोलहरका कारण धेरै बिरामी पर्दा थप एम्बुलेन्स परिचालन गर्न सकिन्छ? | yes
select_one coord3 | neighbor_surge_coord | Does the facility coordinate with neighboring facilities for patient surge management? | के संस्थाले बिरामीको अत्यधिक चाप व्यवस्थापनका लागि छिमेकी स्वास्थ्य संस्थाहरूसँग समन्वय गर्छ? | yes
select_one agreement3b | mutual_aid | Are mutual-aid arrangements in place with nearby facilities? | के नजिकैका संस्थाहरूसँग पारस्परिक सहयोगको व्यवस्था (mutual-aid arrangements) छ? | yes
select_one drill3 | transport_drills | Have emergency transport or referral drills been conducted? | के आपत्कालीन यातायात वा रिफर सम्बन्धी कृत्रिम अभ्यास (drills) गरिएका छन्? | yes
end_group | grp_referral
begin_group | grp_heatwave | Domain 9 — Heatwave Disaster Preparedness & Response / तातोलहर विपद् पूर्वतयारी तथा प्रतिकार्य | Domain 9 — Heatwave Disaster Preparedness & Response / तातोलहर विपद् पूर्वतयारी तथा प्रतिकार्य |  | ${consent_given}='yes'
select_one plan_updated3 | dprp_available | Does the facility have a Disaster Preparedness and Response Plan (DPRP)? | के संस्थासँग विपद् पूर्वतयारी तथा प्रतिकार्य योजना (DPRP) छ? | yes
select_one included3 | heat_in_dprp | Is heatwave included as a hazard in the DPRP? | के DPRP मा तातोलहरलाई एउटा सङ्कट/विपद्को रूपमा समावेश गरिएको छ? | yes | not(selected(${dprp_available},'not_available'))
select_one plan_updated3 | heat_plan | Does the facility have a Heatwave Preparedness and Response Plan or SOP? | के संस्थासँग तातोलहर पूर्वतयारी तथा प्रतिकार्य योजना वा SOP छ? | yes
select_one committee3b | dprc_committee | Is a Disaster Preparedness and Response Committee (DPRC) formed and functional? | के विपद् पूर्वतयारी तथा प्रतिकार्य समिति (DPRC) गठन भई क्रियाशील छ? | yes
select_one hics3 | hics_established | Is a Hospital Incident Command System (HICS) established? | के अस्पताल इन्सिडेन्ट कमान्ड सिस्टम (HICS) स्थापना गरिएको छ? | yes | ${is_hospital}=1
select_one focal3 | heat_focal_person | Has a Heatwave Focal Person been designated? | के तातोलहर फोकल पर्सन (Heatwave Focal Person) तोकिएको छ? | yes
select_one warning3 | dhm_warning | Does the facility receive heatwave early-warning information from DHM or health authorities? | के संस्थाले जल तथा मौसम विज्ञान विभाग (DHM) वा स्वास्थ्य निकायहरूबाट तातोलहर सम्बन्धी पूर्वसूचना पाउँछ? | yes
select_one sop3 | heat_sop | Are clinical SOPs available for managing heat-related illness? | के तातोलहर सम्बन्धी बिरामीको व्यवस्थापनका लागि क्लिनिकल SOP हरू उपलब्ध छन्? | yes
select_one drill3b | mock_drill | Has a heatwave or emergency mock drill been conducted? | के तातोलहर वा आपत्कालीन अवस्था सम्बन्धी नमुना अभ्यास (mock drill) गरिएको छ? | yes
select_one identified3 | essential_services_priority | Are essential services identified for prioritization during heat emergencies? | के तातोलहरको आपत्कालीन अवस्थामा प्राथमिकता दिइने अत्यावश्यक सेवाहरू पहिचान गरिएका छन्? | yes
select_one plan_dev | surge_plan | Does the facility have a patient surge capacity plan? | के संस्थासँग बिरामीको चाप बढेमा व्यवस्थापन गर्ने क्षमता योजना (patient surge capacity plan) छ? | yes
select_one plan_dev | staffing_surge_plan | Does the facility have a staffing surge plan for the heat season? | के संस्थासँग गर्मी मौसमका लागि अतिरिक्त जनशक्ति व्यवस्थापन योजना (staffing surge plan) छ? | yes
select_one yn | beds_added_heat | Are additional beds added during heatwave periods? | के तातोलहरको समयमा अतिरिक्त बेडहरू थपिन्छन्? | yes | not(selected(${inpatient_service},'no'))
select_one yn | two_patients_bed | Has the facility had to place two patients per bed during heat-related surges? | के गर्मीका कारण बिरामीको चाप बढ्दा संस्थाले एउटै बेडमा दुई जना बिरामी राख्नुपरेको छ? | yes | not(selected(${inpatient_service},'no'))
select_one evac3 | extraction_procedures | Are evacuation procedures defined for the facility? | के संस्थाका लागि सुरक्षित स्थानान्तरण (evacuation) प्रक्रिया तोकिएको छ? | yes
select_one practice3 | staffing_increased_practice | Is staffing actually increased during heatwave periods? | के तातोलहरको समयमा वास्तवमै कर्मचारीको संख्या बढाइन्छ? | yes
select_one activation3 | plan_activation | Has the heatwave plan ever been activated during a real event? | के तातोलहर योजना वास्तविक घटनाको समयमा कहिल्यै लागू/सक्रिय गरिएको छ? | yes | not(selected(${heat_plan},'not_available'))
select_one trigger3 | trigger_levels | Are temperature trigger levels defined for activating the heat plan? | के तातोलहर योजना सक्रिय गर्नका लागि तापक्रमको निश्चित सीमा (trigger levels) तोकिएको छ? | yes | not(selected(${heat_plan},'not_available'))
select_one dissem3 | advisories_dissemination | Are heat-health advisories disseminated to patients and the community? | के बिरामी र समुदायमा गर्मी-स्वास्थ्य सम्बन्धी सचेतना/सुझावहरू (advisories) प्रवाह गरिन्छ? | yes
select_one review3b | plan_annual_review | Is the heatwave plan reviewed annually before the hot season? | के तातोलहर योजना गर्मी मौसम सुरु हुनुअघि वार्षिक रूपमा समीक्षा गरिन्छ? | yes | not(selected(${heat_plan},'not_available'))
end_group | grp_heatwave
begin_group | grp_environment | Domain 10 — Environmental Health & Climate Context / वातावरणीय स्वास्थ्य तथा जलवायु सन्दर्भ | Domain 10 — Environmental Health & Climate Context / वातावरणीय स्वास्थ्य तथा जलवायु सन्दर्भ |  | ${consent_given}='yes'
select_one heat_area3 | recurrent_heat_area | Is the facility located in an area with recurrent extreme heat? | के संस्था बारम्बार अत्यधिक गर्मी हुने क्षेत्रमा अवस्थित छ? | yes
select_one never3 | heat_disruption_5yr | Has extreme heat disrupted facility services in the past five years? | के विगत पाँच वर्षमा अत्यधिक गर्मीका कारण संस्थाको सेवा अवरुद्ध भएको छ? | yes
select_one max_temp | max_temp_recorded | Approximate maximum temperature recorded in the area during summer | उक्त क्षेत्रमा गर्मी याममा रेकर्ड गरिएको अनुमानित अधिकतम तापक्रम | yes
select_one uhi3 | urban_heat_island | Is the facility located in a densely built-up/urban heat island area? | के संस्था बाक्लो बस्ती/सहरी ताप टापु (urban heat island) क्षेत्रमा अवस्थित छ? | yes
select_one paved3 | paved_surroundings | Is the facility surrounded mainly by paved or concrete surfaces? | के संस्था मुख्यतया पक्की वा कङ्क्रीटको सतहले घेरिएको छ? | yes
select_one flood_risk3 | water_bodies_flood | Are there nearby water bodies or flood-prone areas affecting the facility? | के संस्थालाई असर पार्ने खालका कुनै नजिकै जलासय वा बाढीको जोखिम भएका क्षेत्रहरू छन्? | yes
select_one pollution3 | dust_pollution | Is the facility affected by dust or air pollution? | के संस्था धूलो वा वायु प्रदूषणबाट प्रभावित छ? | yes
select_one industry3 | industrial_sites | Are industrial sites or major pollution sources located nearby? | के नजिकै औद्योगिक क्षेत्र वा प्रमुख प्रदूषणका स्रोतहरू अवस्थित छन्? | yes
select_one never3 | waterlogging | Does waterlogging occur within the facility compound during rains? | के वर्षाको समयमा संस्थाको हाताभित्र पानी जम्ने/डुबान हुने समस्या हुन्छ? | yes
select_one drainage3b | compound_drainage | Is the compound drainage system adequate? | के संस्था परिसरको ढल/निकास प्रणाली पर्याप्त छ? | yes
select_one shaded3b | walkway_shade | Are the walkways between buildings shaded? | के भवनहरूबीच आवतजावत गर्ने बाटोहरूमा छायाको व्यवस्था छ? | yes | ${total_buildings}>1
select_one shaded3c | safe_shaded_space | Is a safe shaded space available for patients waiting outdoors during heat? | के गर्मीको समयमा बाहिर पर्खिने बिरामीका लागि सुरक्षित र छायादार ठाउँ उपलब्ध छ? | yes
select_one monitoring3 | env_monitoring | Does the facility monitor local environmental conditions (temperature, humidity)? | के संस्थाले स्थानीय वातावरणीय अवस्था (तापक्रम, आर्द्रता) अनुगमन गर्छ? | yes
select_one access3 | climate_maps_access | Does the facility have access to climate or hazard maps of its area? | के संस्थाको पहुँच आफ्नो क्षेत्रको जलवायु वा विपद् जोखिम नक्सामा छ? | yes
select_one identified3b | climate_risks_identified | Have climate-sensitive health risks been identified for the catchment area? | के यस संस्थाको सेवा क्षेत्रका लागि जलवायु-संवेदनशील स्वास्थ्य जोखिमहरू पहिचान गरिएका छन्? | yes
select_multiple hazards_catchment | multihazard_catchment | Which other hazards affect the facility's catchment area? | यस संस्थाको सेवा क्षेत्रलाई अन्य कुन-कुन जोखिमहरूले असर पार्छन्? | yes
select_one coord3b | climate_info_coordination | Does the facility coordinate with agencies for climate and weather information? | के संस्थाले जलवायु र मौसम सम्बन्धी जानकारीका लागि सम्बन्धित निकायहरूसँग समन्वय गर्छ? | yes
end_group | grp_environment
begin_group | grp_community | Domain 11 — Community Engagement & Risk Communication / सामुदायिक सहभागिता तथा जोखिम सञ्चार | Domain 11 — Community Engagement & Risk Communication / सामुदायिक सहभागिता तथा जोखिम सञ्चार |  | ${consent_given}='yes'
select_one plan_dev | engagement_plan | Does the facility have a community engagement or health promotion plan? | के संस्थासँग सामुदायिक सहभागिता वा स्वास्थ्य प्रवर्द्धन योजना छ? | yes
select_one reg3 | health_messaging | Does the facility disseminate health messages to the community? | के संस्थाले समुदायमा स्वास्थ्य सन्देशहरू प्रवाह गर्छ? | yes
select_one reg3 | fchv_coordination | Does the facility coordinate regularly with FCHVs for community health activities? | के संस्थाले सामुदायिक स्वास्थ्य गतिविधिहरूका लागि FCHV हरूसँग नियमित समन्वय गर्छ? | yes
select_one reg3 | localgov_collab | Does the facility collaborate with the local government on health campaigns? | के संस्थाले स्वास्थ्य अभियानहरूमा स्थानीय सरकारसँग सहकार्य गर्छ? | yes
select_one iec3 | iec_materials | Are IEC materials on heat-health protection available and displayed? | के तातोलहरबाट स्वास्थ्य सुरक्षा सम्बन्धी IEC (सूचना, शिक्षा र सञ्चार) सामग्रीहरू उपलब्ध र टाँसिएका/देखाइएका छन्? | yes
select_multiple comm_channels | comm_channels | Which channels does the facility use for community health communication? | समुदायमा स्वास्थ्य सञ्चारका लागि संस्थाले कुन-कुन माध्यमहरू प्रयोग गर्छ? | yes
select_one feedback3b | community_feedback | Is a mechanism available for collecting community feedback? | के सामुदायिक प्रतिक्रिया/फिडब्याक संकलन गर्ने संयन्त्र उपलब्ध छ? | yes
select_one targeting3 | vulnerable_targeting | Are heat-health messages targeted to vulnerable groups (elderly, children, outdoor workers, pregnant women)? | के तातोलहर-स्वास्थ्य सन्देशहरू जोखिममा रहेका समूहहरू (ज्येष्ठ नागरिक, बालबालिका, बाहिर काम गर्ने मजदुर, गर्भवती महिला) लाई लक्षित गरी बनाइएका छन्? | yes
select_one gedsi3 | gedsi_consideration | Are GEDSI (gender equality, disability, social inclusion) considerations integrated in outreach activities? | के पहुँचयोग्य गतिविधिहरूमा लैंगिक समानता, अपाङ्गता र सामाजिक समावेशीकरण (GEDSI) का विषयहरू एकीकृत गरिएका छन्? | yes
select_one access_info3 | disability_access_info | Is health information accessible to persons with disabilities (formats, languages)? | के अपाङ्गता भएका व्यक्तिहरूका लागि स्वास्थ्य जानकारी पहुँचयोग्य (उपयुक्त ढाँचा, भाषा) छ? | yes
select_one languages3 | local_languages | Are health messages available in relevant local languages? | के स्वास्थ्य सन्देशहरू सान्दर्भिक स्थानीय भाषामा उपलब्ध छन्? | yes
select_one campaigns3 | awareness_campaigns | Does the facility conduct heat-health awareness campaigns before/during summer? | के संस्थाले गर्मी मौसम अघि/गर्मीको समयमा तातोलहर-स्वास्थ्य सचेतना अभियान चलाउँछ? | yes
select_one reg3 | schools_groups_coord | Does the facility coordinate with schools, clubs, or community groups on heat awareness? | के संस्थाले गर्मी सम्बन्धी सचेतनाका लागि विद्यालय, क्लब वा सामुदायिक समूहहरूसँग समन्वय गर्छ? | yes
select_one list3 | highrisk_household_list | Is a list of high-risk households or individuals maintained for heat emergencies? | के तातोलहरको आपत्कालीन अवस्थाका लागि उच्च जोखिममा रहेका घरधुरी वा व्यक्तिहरूको सूची राखिएको छ? | yes
select_one involved3 | community_reps | Are community representatives involved in facility planning? | के संस्थाको योजना निर्माणमा सामुदायिक प्रतिनिधिहरू संलग्न छन्? | yes
end_group | grp_community
begin_group | grp_climatesmart | Domain 12 — Climate-Smart Procurement & Sustainability / जलवायु-मैत्री खरिद तथा दिगोपन | Domain 12 — Climate-Smart Procurement & Sustainability / जलवायु-मैत्री खरिद तथा दिगोपन |  | ${consent_given}='yes'
select_one considered3 | climate_procurement | Are climate considerations included in procurement decisions? | के खरिद सम्बन्धी निर्णयहरूमा जलवायु सम्बन्धी विषयहरू समावेश गरिन्छ? | yes
select_one preferred3 | energy_efficient_equip | Is energy-efficient equipment preferred in purchases? | के खरिद गर्दा ऊर्जा-दक्ष (energy-efficient) उपकरणहरूलाई प्राथमिकता दिइन्छ? | yes
select_one maintenance3 | preventive_maintenance | Is preventive maintenance of equipment conducted regularly? | के उपकरणहरूको नियमित रोकथाममूलक मर्मतसम्भार (preventive maintenance) गरिन्छ? | yes
select_one monitored3 | consumption_monitoring | Are electricity and water consumption monitored? | के बिजुली र पानीको खपत अनुगमन गरिन्छ? | yes
select_one practiced3 | water_conservation | Are water conservation measures practiced (rainwater harvesting, reuse)? | के पानी संरक्षणका उपायहरू (आकासे पानी संकलन, पुनःप्रयोग) अभ्यास गरिन्छ? | yes
select_one practiced3 | energy_conservation | Are energy conservation measures practiced (LED lighting, efficient cooling)? | के ऊर्जा संरक्षणका उपायहरू (LED बत्ती, दक्ष कुलिङ) अभ्यास गरिन्छ? | yes
select_one renewable3 | renewable_energy | Does the facility use renewable energy sources? | के संस्थाले नवीकरणीय ऊर्जाका स्रोतहरू प्रयोग गर्छ? | yes
select_one considered3 | heat_resilient_procurement | Is heat resilience considered when procuring equipment and materials (heat-tolerant equipment, reflective materials)? | के उपकरण र सामग्री खरिद गर्दा तातोलहर अनुकूलता (ताप सहन सक्ने उपकरण, परावर्तनशील सामग्री) लाई ध्यान दिइन्छ? | yes
select_one policy3 | sustainability_policy | Does the facility have a sustainability or green health facility policy? | के संस्थासँग दिगोपन वा हरित स्वास्थ्य संस्था नीति (green health facility policy) छ? | yes
select_one reviewed3 | supplychain_risk_review | Are supply-chain climate risks reviewed periodically? | के आपूर्ति शृङ्खलामा पर्न सक्ने जलवायु जोखिमहरूको आवधिक समीक्षा गरिन्छ? | yes
select_one waste3 | waste_management | Are health-care waste management practices environmentally sound (segregation, safe treatment)? | के स्वास्थ्यजन्य फोहोर व्यवस्थापनका अभ्यासहरू वातावरणीय रूपमा सुरक्षित (वर्गीकरण, सुरक्षित उपचार) छन्? | yes
select_one measures3 | ghg_measures | Has the facility adopted any measures to reduce greenhouse gas emissions? | के संस्थाले हरितगृह ग्याँस उत्सर्जन घटाउन कुनै उपायहरू अपनाएको छ? | yes
select_one review3c | sustainability_review | Is an annual sustainability or energy review conducted? | के वार्षिक रूपमा दिगोपन वा ऊर्जा समीक्षा गरिन्छ? | yes
end_group | grp_climatesmart
begin_group | grp_closure | Closure — Verification & Evidence / प्रमाणीकरण तथा प्रमाण | Closure — Verification & Evidence / प्रमाणीकरण तथा प्रमाण |  | ${consent_given}='yes'
image | facility_photo | Take a photo of the facility (main building/front view) | स्वास्थ्य संस्थाको फोटो खिच्नुहोस् (मुख्य भवन/अगाडिको दृश्य) | yes
text | surveyor_observations | surveyor's overall observations on facility heat readiness (strengths, gaps, urgent issues) | संस्थाको तातोलहर तयारी सम्बन्धी सर्भेक्षकको समग्र अवलोकन (सबला पक्ष, कमीकमजोरी, तत्काल सम्बोधन गर्नुपर्ने विषयहरू) | yes
text | additional_comments | Any additional comments from the respondent | उत्तरदाताका अन्य थप टिप्पणीहरू
end_group | grp_closure

## choices
list_name | value | label::English (en) | label::Nepali (ne)
yn | yes | Yes | छ
yn | no | No | छैन
yn_partial | yes | Yes | छ
yn_partial | partial | Partially | आंशिक
yn_partial | no | No | छैन
reg3 | regularly | Regularly | नियमित
reg3 | occasionally | Occasionally | कहिलेकाहीँ
reg3 | never | Never | कहिल्यै गरिँदैन
always3 | always | Always | सधैँ
always3 | sometimes | Sometimes | कहिलेकाहीँ
always3 | never | Never | कहिल्यै हुँदैन
never3 | frequently | Yes, frequently | बारम्बार भएको छ
never3 | occasionally | Yes, occasionally | कहिलेकाहीँ भएको छ
never3 | never | Never | कहिल्यै भएको छैन
plan_dev | available | Available and documented | लिखित रूपमा उपलब्ध छ
plan_dev | draft | Under development or informal | निर्माणाधीन वा अनौपचारिक
plan_dev | not_available | Not available | उपलब्ध छैन
plan_updated3 | updated | Available and updated | उपलब्ध र अद्यावधिक छ
plan_updated3 | outdated | Available but outdated | उपलब्ध तर पुरानो
plan_updated3 | not_available | Not available | उपलब्ध छैन
adequate3 | adequate | Adequate and functional | पर्याप्त र सञ्चालनयोग्य
adequate3 | limited | Available but limited or partially functional | सीमित वा आंशिक सञ्चालनयोग्य
adequate3 | not_available | Not available | उपलब्ध छैन
functional3 | functional | Available and functional | उपलब्ध र सञ्चालनयोग्य
functional3 | nonfunctional | Available but not functional | उपलब्ध तर सञ्चालनयोग्य छैन
functional3 | no | Not available | उपलब्ध छैन
designated3 | designated_active | Yes, designated and active | तोकिएको र सक्रिय
designated3 | designated_inactive | Designated but not active | तोकिएको तर निष्क्रिय
designated3 | no | Not designated | तोकिएको छैन
protected3 | protected | Yes, protective measures provided | सुरक्षात्मक उपाय उपलब्ध
protected3 | partial | Partial measures | आंशिक उपाय
protected3 | no | No measures | कुनै उपाय छैन
register3b | maintained | Maintained and up to date | व्यवस्थित र अद्यावधिक
register3b | incomplete | Maintained but incomplete | राखिएको तर अपूर्ण
register3b | not_maintained | Not maintained | राखिएको छैन
collection_method | interview | Interview | अन्तर्वार्ता
collection_method | observation | Direct observation | प्रत्यक्ष अवलोकन
collection_method | records | Record review | अभिलेेख समीक्षा
collection_method | other | Other | अन्य
facility_type | federal_hospital | Federal hospital | सङ्घीय अस्पताल
facility_type | provincial_hospital | Provincial hospital | प्रदेश अस्पताल
facility_type | district_hospital | District hospital | जिल्ला अस्पताल
facility_type | municipal_hospital | Municipal hospital | नगर अस्पताल
facility_type | primary_hospital | Primary hospital | प्राथमिक अस्पताल
facility_type | private_hospital | Private/community hospital | निजी/सामुदायिक अस्पताल
facility_type | phcc | Primary Health Care Center | प्राथमिक स्वास्थ्य केन्द्र
facility_type | health_post | Health post | स्वास्थ्य चौकी
facility_type | bhsc | Basic Health Service Center | आधारभूत स्वास्थ्य सेवा केन्द्र
facility_type | uhc | Urban health center | सहरी स्वास्थ्य केन्द्र
facility_type | other | Other | अन्य
ownership_type | government | Government | सरकारी
ownership_type | community | Community | सामुदायिक
ownership_type | private | Private | निजी
ownership_type | ngo | NGO-managed | गैसस-सञ्चालित
ownership_type | other | Other | अन्य
web_presence | website | Official website | आधिकारिक वेबसाइट
web_presence | social | Social media page only | सामाजिक सञ्जाल मात्र
web_presence | both | Both | दुवै
web_presence | none | None | छैन
registration_source | mosd | Ministry/Department registry | मन्त्रालय-विभागीय दर्ता
registration_source | municipality | Municipality record | नगरपालिका अभिलेख
registration_source | facility | Facility record | संस्थागत अभिलेख
registration_source | other | Other | अन्य
incharge_designation | med_supt | Medical Superintendent | मेडिकल सुपरिटेन्डेन्ट
incharge_designation | mo | Medical Officer | मेडिकल अधिकृत
incharge_designation | ha | Health Assistant | हेल्थ असिस्टेन्ट
incharge_designation | nursing | Nursing In-charge | नर्सिङ इन्चार्ज
incharge_designation | other | Other | अन्य
avail_updated | updated | Available and updated | उपलब्ध र अद्यावधिक
avail_updated | outdated | Available but outdated | उपलब्ध तर पुरानो
avail_updated | not_available | Not available | उपलब्ध छैन
linkage3 | formal | Formal and active linkage | औपचारिक र सक्रिय
linkage3 | informal | Informal linkage | अनौपचारिक
linkage3 | none | No linkage | छैन
trained3 | most | Yes, most clinical staff trained | अधिकांश तालिमप्राप्त
trained3 | some | Some staff trained | केही तालिमप्राप्त
trained3 | none | No training received | तालिम पाएका छैनन्
health_systems | allopathic | Allopathic (modern) | एलोप्याथिक (आधुनिक)
health_systems | ayurvedic | Ayurvedic | आयुर्वेदिक
health_systems | homeopathic | Homeopathic | होमियोप्याथिक
health_systems | other | Other | अन्य
service_categories | preventive | Preventive | प्रतिरोधात्मक
service_categories | promotive | Promotive | प्रवर्द्धनात्मक
service_categories | curative | Curative | उपचारात्मक
service_categories | rehabilitative | Rehabilitative | पुनर्स्थापनात्मक
holiday_ops | full | Yes, full services | पूर्ण सेवा
holiday_ops | emergency_only | Emergency services only | आकस्मिक मात्र
holiday_ops | closed | Closed | बन्द
op_hours | h24 | 24 hours | २४ घण्टा
op_hours | extended | Extended hours (>8 hrs) | विस्तारित समय
op_hours | office | Office hours only | कार्यालय समय मात्र
service_full3 | full | Available, full capacity | पूर्ण क्षमतामा उपलब्ध
service_full3 | limited | Available, limited capacity | सीमित क्षमतामा
service_full3 | no | Not available | उपलब्ध छैन
service_247 | h24 | Available 24/7 | २४सै घण्टा उपलब्ध
service_247 | limited_hours | Available limited hours | सीमित समय
service_247 | no | Not available | उपलब्ध छैन
capacity3 | adequate | Available with adequate capacity | पर्याप्त क्षमतासहित
capacity3 | overstretched | Available but overstretched | क्षमताभन्दा बढी चापमा
capacity3 | no | Not available | उपलब्ध छैन
pharmacy3 | h24 | 24-hour pharmacy | २४ घण्टा फार्मेसी
pharmacy3 | daytime | Daytime only | दिउँसो मात्र
pharmacy3 | no | Not available | छैन
blood3 | bank | Blood bank | ब्लड बैंक
blood3 | storage | Blood storage unit | रगत भण्डारण एकाइ
blood3 | no | Not available | छैन
ocmc3 | functional | Established and functional | स्थापित र क्रियाशील
ocmc3 | nonfunctional | Established but not functional | स्थापित तर निष्क्रिय
ocmc3 | no | Not established | स्थापना भएको छैन
ssu3 | functional | Established and functional | स्थापित र क्रियाशील
ssu3 | nonfunctional | Established but not functional | स्थापित तर निष्क्रिय
ssu3 | no | Not established | स्थापना भएको छैन
regular3 | regular | Regular service | नियमित सेवा
regular3 | irregular | Irregular service | अनियमित
regular3 | no | Not available | छैन
comprehensive3 | comprehensive | Comprehensive services | व्यापक सेवा
comprehensive3 | basic | Basic services only | आधारभूत मात्र
comprehensive3 | no | Not available | छैन
isolation3 | dedicated | Dedicated isolation room(s) | छुट्टै आइसोलेसन कक्ष
isolation3 | improvised | Improvised space when needed | आवश्यक पर्दा अस्थायी व्यवस्था
isolation3 | no | No isolation capacity | छैन
road_type | blacktop | Blacktopped | कालोपत्रे
road_type | gravel | Graveled | ग्राभेल
road_type | earthen | Earthen | कच्ची
road_type | other | Other | अन्य
avail_limited3 | readily | Readily available | सहज उपलब्ध
avail_limited3 | limited | Limited availability | सीमित
avail_limited3 | not_available | Not available | उपलब्ध छैन
surge_space3 | adequate | Adequate space available | पर्याप्त ठाउँ
surge_space3 | limited | Limited space | सीमित ठाउँ
surge_space3 | none | No space available | ठाउँ छैन
green_pct | above30 | More than 30% | ३०% भन्दा बढी
green_pct | p10_30 | 10–30% | १०–३०%
green_pct | below10 | Less than 10% | १०% भन्दा कम
green_pct | none | Almost none | लगभग छैन
shaded3 | adequate | Adequately shaded | पर्याप्त छायाँ
shaded3 | partial | Partially shaded | आंशिक छायाँ
shaded3 | no | Not shaded | छायाँ छैन
waiting_shade3 | all | All waiting areas protected | सबै प्रतीक्षा स्थल सुरक्षित
waiting_shade3 | some | Some areas protected | केही सुरक्षित
waiting_shade3 | none | Not protected | सुरक्षित छैनन्
reliable3 | reliable | Reliable, rare interruptions | भरपर्दो, विरलै अवरोध
reliable3 | frequent_cuts | Frequent interruptions | बारम्बार अवरोध
reliable3 | unreliable | Highly unreliable | अत्यन्त अभरपर्दो
freq3_rare | frequently | Yes, frequently | बारम्बार
freq3_rare | sometimes | Sometimes | कहिलेकाहीँ
freq3_rare | rarely_never | Rarely or never | विरलै वा कहिल्यै होइन
generator3 | functional | Functional generator available | सञ्चालनयोग्य जेनेरेटर छ
generator3 | nonfunctional | Generator present but not functional | छ तर सञ्चालनयोग्य छैन
generator3 | not_available | No generator | जेनेरेटर छैन
fuel3 | adequate | Adequate stock maintained | पर्याप्त मौज्दात
fuel3 | limited | Limited stock | सीमित मौज्दात
fuel3 | none | No stock | मौज्दात छैन
tested3 | within_month | Tested within the past month | गएको महिनाभित्र परीक्षण
tested3 | older | Tested earlier than one month | एक महिनाअघि परीक्षण
tested3 | never | Never tested | परीक्षण गरिएको छैन
solar3 | functional | Installed and functional | जडान भई सञ्चालनयोग्य
solar3 | nonfunctional | Installed but not functional | जडान तर सञ्चालनयोग्य छैन
solar3 | not_installed | Not installed | जडान गरिएको छैन
solar_loads3 | essential | Supports essential loads | अत्यावश्यक भार धान्छ
solar_loads3 | partial | Supports some loads | केही भार धान्छ
solar_loads3 | minimal | Minimal support | न्यून मात्र
backup_dur3 | h8plus | More than 8 hours | ८ घण्टाभन्दा बढी
backup_dur3 | h2_8 | 2–8 hours | २–८ घण्टा
backup_dur3 | below2 | Less than 2 hours | २ घण्टाभन्दा कम
ups3 | critical | Available for critical equipment | अत्यावश्यक उपकरणका लागि छ
ups3 | some | Available for some equipment | केहीका लागि छ
ups3 | no | Not available | छैन
protected3b | protected | Fully protected by backup | ब्याकअपले पूर्ण सुरक्षित
protected3b | partial | Partially protected | आंशिक सुरक्षित
protected3b | no | Not protected | सुरक्षित छैन
protected3na | protected | Fully protected | पूर्ण सुरक्षित
protected3na | partial | Partially protected | आंशिक
protected3na | no | Not protected | असुरक्षित
protected3na | na | Not applicable | लागू हुँदैन
cc_avail3 | dedicated | Dedicated cold-chain equipment | छुट्टै कोल्ड चेन उपकरण
cc_avail3 | shared | Shared/limited equipment | साझा वा सीमित
cc_avail3 | not_available | Not available | छैन
cc_func3 | fully | Fully functional | पूर्ण सञ्चालनयोग्य
cc_func3 | partial | Partially functional | आंशिक
cc_func3 | no | Not functional | सञ्चालनयोग्य छैन
cc_backup3 | connected | Connected to backup power | ब्याकअपमा जोडिएको
cc_backup3 | manual | Manual arrangements only (ice packs) | हाते व्यवस्था मात्र
cc_backup3 | no | No backup | ब्याकअप छैन
logs3 | daily | Maintained daily (2x/day) | दैनिक (दिनको २ पटक)
logs3 | irregular | Maintained irregularly | अनियमित
logs3 | no | Not maintained | राखिँदैन
plan_tested3 | documented | Documented and tested | लिखित र परीक्षण गरिएको
plan_tested3 | informal | Informal plan only | अनौपचारिक मात्र
plan_tested3 | no | No plan | योजना छैन
water_source | piped | Piped supply | पाइपधारा
water_source | well | Tube well/boring | ट्युबवेल-बोरिङ
water_source | tanker | Tanker/delivered | ट्यांकर
water_source | spring | Spring/surface | मूल-सतही
water_source | other | Other | अन्य
water_cont3 | continuous | Continuous | निरन्तर
water_cont3 | intermittent | Intermittent (scheduled hours) | निश्चित समय मात्र
water_cont3 | scarce | Frequently unavailable | प्रायः अनुपलब्ध
storage3 | adequate | Adequate (>=2 days need) | पर्याप्त (>=२ दिन पुग्ने)
storage3 | limited | Limited (<2 days) | सीमित
storage3 | none | No storage | भण्डारण छैन
treatment3 | always | Always treated | सधैँ शुद्धीकरण
treatment3 | sometimes | Sometimes treated | कहिलेकाहीँ
treatment3 | never | Not treated | गरिँदैन
drinking3 | free_access | Freely accessible at all times | सधैँ निःशुल्क उपलब्ध
drinking3 | limited | Limited availability | सीमित
drinking3 | none | Not available | उपलब्ध छैन
handwash3 | all_points | At all key points with soap | सबै मुख्य स्थानमा साबुनसहित
handwash3 | some_points | At some points | केही स्थानमा
handwash3 | none | Not available | छैन
drainage3 | adequate | Adequate | पर्याप्त
drainage3 | partial | Partially adequate | आंशिक
drainage3 | inadequate | Inadequate | अपर्याप्त
drainage3b | adequate | Adequate | पर्याप्त
drainage3b | partial | Partially adequate | आंशिक
drainage3b | inadequate | Inadequate | अपर्याप्त
avail_access3 | accessible | Available and easily accessible | उपलब्ध र सहज पहुँचयोग्य
avail_access3 | stored_away | Available but stored away | उपलब्ध तर टाढा राखिएको
avail_access3 | not_available | Not available | छैन
areas3 | all | In all clinical areas | सबै क्लिनिकल क्षेत्रमा
areas3 | some | In some areas | केही क्षेत्रमा
areas3 | none | Not available | छैन
avail_rare3 | available | Available | उपलब्ध
avail_rare3 | shared | Shared/borrowed when needed | आवश्यक पर्दा साझा
avail_rare3 | not_available | Not available | छैन
cooling3 | stocked | Stocked and ready | मौज्दात र तयार
cooling3 | partial | Some items available | केही मात्र
cooling3 | none | Not available | छैन
bmet3 | designated | Trained/designated person available | तालिमप्राप्त-तोकिएको व्यक्ति छ
bmet3 | adhoc | Ad-hoc arrangements | तदर्थ व्यवस्था
bmet3 | none | Not available | छैन
stock3 | adequate | Adequate stock | पर्याप्त मौज्दात
stock3 | partial | Partial stock | आंशिक
stock3 | stockout | Frequent stock-outs | बारम्बार सकिने
stock3b | adequate | Adequate stock | पर्याप्त मौज्दात
stock3b | partial | Partial stock | आंशिक
stock3b | stockout | Frequent stock-outs | बारम्बार सकिने
stock3c | adequate | Adequate stock | पर्याप्त मौज्दात
stock3c | partial | Partial stock | आंशिक
stock3c | stockout | Frequent stock-outs | बारम्बार सकिने
iv3 | adequate | Adequate for >=3-day surge | >=३ दिनको चापका लागि पर्याप्त
iv3 | d1_2 | 1-2 days only | १-२ दिन मात्र
iv3 | inadequate | Less than 1 day | १ दिनभन्दा कम
everyyear3 | every_year | Yes, every year | हरेक वर्ष
everyyear3 | some_years | Some years | कुनै-कुनै वर्ष
everyyear3 | never | Never | कहिल्यै गरिँदैन
preposition3 | systematic | Yes, systematically | व्यवस्थित रूपमा
preposition3 | partial | Partially | आंशिक
preposition3 | no | No | गरिँदैन
protected3c | protected | Storage protected (cool, ventilated) | भण्डारण सुरक्षित (शीतल, हावादार)
protected3c | partial | Partially protected | आंशिक
protected3c | exposed | Exposed to heat | गर्मीमा असुरक्षित
reliable3b | reliable | Reliable system | भरपर्दो प्रणाली
reliable3b | delays | Functional but with delays | ढिलाइसहित
reliable3b | unreliable | Unreliable | अभरपर्दो
agreement3 | formal | Formal agreements | औपचारिक सम्झौता
agreement3 | informal | Informal arrangements | अनौपचारिक व्यवस्था
agreement3 | none | No arrangements | छैन
agreement3b | formal | Formal agreements | औपचारिक सम्झौता
agreement3b | informal | Informal arrangements | अनौपचारिक व्यवस्था
agreement3b | none | No arrangements | छैन
digital3 | full | Fully digital (eLMIS) | पूर्ण डिजिटल (eLMIS)
digital3 | partial | Partially digital | आंशिक डिजिटल
digital3 | paper | Paper-based only | कागजी मात्र
storage_adeq3 | adequate | Adequate space and conditions | पर्याप्त ठाउँ र अवस्था
storage_adeq3 | limited | Limited | सीमित
storage_adeq3 | inadequate | Inadequate | अपर्याप्त
committee3 | functional | Formed and functional | गठित र क्रियाशील
committee3 | inactive | Formed but inactive | गठित तर निष्क्रिय
committee3 | not_formed | Not formed | गठन भएको छैन
committee3b | functional | Formed and functional | गठित र क्रियाशील
committee3b | inactive | Formed but inactive | गठित तर निष्क्रिय
committee3b | not_formed | Not formed | गठन भएको छैन
agenda3 | regular_agenda | Yes, regular agenda item | नियमित एजेन्डा
agenda3 | once | Discussed at least once | कम्तीमा एक पटक छलफल
agenda3 | never | Never discussed | छलफल भएको छैन
budget3 | approved | Approved and adequate | स्वीकृत र पर्याप्त
budget3 | approved_limited | Approved but limited | स्वीकृत तर सीमित
budget3 | not_approved | Not approved | स्वीकृत छैन
fund3 | dedicated | Dedicated fund available | छुट्टै कोष छ
fund3 | adhoc | Ad-hoc arrangements | तदर्थ व्यवस्था
fund3 | not_available | Not available | उपलब्ध छैन
authority3 | full | Full authority | पूर्ण अधिकार
authority3 | approval_needed | Requires higher approval | माथिल्लो स्वीकृति चाहिने
authority3 | no | No authority | अधिकार छैन
budget_heat3 | allocated | Yes, budget allocated | बजट विनियोजित
budget_heat3 | proposed | Proposed but not allocated | प्रस्तावित मात्र
budget_heat3 | no | Not considered | विचार गरिएको छैन
support3 | regular | Regular support | नियमित सहयोग
support3 | occasional | Occasional support | कहिलेकाहीँ
support3 | none | No support | छैन
integrated3 | integrated | Formally integrated | औपचारिक रूपमा आबद्ध
integrated3 | informal | Informal involvement | अनौपचारिक संलग्नता
integrated3 | no | Not integrated | आबद्ध छैन
records3 | audited | Maintained and audited | राखिन्छ र लेखापरीक्षण हुन्छ
records3 | maintained | Maintained, not audited | लेखापरीक्षणबिना राखिन्छ
records3 | not_maintained | Not maintained | राखिँदैन
records3b | transparent | Maintained transparently | पारदर्शी रूपमा
records3b | incomplete | Incomplete | अपूर्ण
records3b | not_maintained | Not maintained | राखिँदैन
register3 | updated | Updated register | अद्यावधिक अभिलेख
register3 | outdated | Outdated | पुरानो
register3 | not_maintained | Not maintained | राखिएको छैन
grievance3 | functional | Functional (box/desk/hearing) | क्रियाशील
grievance3 | exists_unused | Exists but rarely used | छ तर विरलै प्रयोग
grievance3 | none | Not available | छैन
display3 | displayed | Publicly displayed and updated | सार्वजनिक र अद्यावधिक
display3 | partial | Partially displayed | आंशिक
display3 | not_displayed | Not displayed | प्रदर्शित छैन
support_vuln3 | systematic | Systematic mechanisms | व्यवस्थित संयन्त्र
support_vuln3 | adhoc | Ad-hoc support | तदर्थ सहयोग
support_vuln3 | none | No mechanism | छैन
comm3 | rapid | Rapid mechanism (phone tree, group message) | द्रुत संयन्त्र
comm3 | informal | Informal only | अनौपचारिक मात्र
comm3 | none | No mechanism | छैन
warning_channels | mikeing | Public announcement (miking) | माइकिङ
warning_channels | fm | FM radio | एफएम रेडियो
warning_channels | social | Social media | सामाजिक सञ्जाल
warning_channels | sms | SMS/phone | एसएमएस-फोन
warning_channels | fchv | Through FCHVs | मस्वास्वसेमार्फत
warning_channels | notice | Notice board | सूचना पाटी
warning_channels | other | Other | अन्य
insurance3 | enrolled | Enrolled and active | आबद्ध र सक्रिय
insurance3 | process | In process | प्रक्रियामा
insurance3 | not_enrolled | Not enrolled | आबद्ध छैन
internet3 | fixed | Fixed broadband | फिक्स्ड ब्रोडब्यान्ड
internet3 | mobile | Mobile data only | मोबाइल डाटा मात्र
internet3 | none | No access | पहुँच छैन
payment_options | cash | Cash | नगद
payment_options | insurance | Health insurance | स्वास्थ्य बिमा
payment_options | digital | Digital payment | डिजिटल भुक्तानी
payment_options | free | Free services | निःशुल्क सेवा
aar3 | systematic | Yes, systematically | व्यवस्थित रूपमा
aar3 | sometimes | Sometimes | कहिलेकाहीँ
aar3 | never | Never | कहिल्यै गरिँदैन
documented3 | acted | Documented and acted upon | अभिलेख गरी कार्यान्वयन
documented3 | documented_only | Documented only | अभिलेख मात्र
documented3 | no | Not documented | अभिलेख गरिँदैन
records_sys3 | systematic | Systematic (registers/EMR) | व्यवस्थित
records_sys3 | partial | Partially systematic | आंशिक
records_sys3 | no | Not maintained | राखिँदैन
timely3 | timely | Regular and on time | नियमित र समयमै
timely3 | delayed | Regular but delayed | ढिलो गरी
timely3 | irregular | Irregular | अनियमित
surveillance3 | active | Active participant (EWARS site) | सक्रिय सहभागी
surveillance3 | informal | Informal reporting | अनौपचारिक
surveillance3 | no | Not participating | सहभागी छैन
mechanism3 | defined | Defined mechanism | परिभाषित संयन्त्र
mechanism3 | informal | Informal only | अनौपचारिक
mechanism3 | none | No mechanism | छैन
reported3 | always | Always reported | सधैँ प्रतिवेदन
reported3 | sometimes | Sometimes | कहिलेकाहीँ
reported3 | never | Never | कहिल्यै गरिँदैन
reported3b | regular | Reported regularly | नियमित प्रतिवेदन
reported3b | on_request | On request only | माग भएमा मात्र
reported3b | never | Not reported | गरिँदैन
used3 | regularly | Used regularly | नियमित प्रयोग
used3 | occasionally | Occasionally | कहिलेकाहीँ
used3 | never | Not used | प्रयोग हुँदैन
computers3 | adequate | Adequate devices | पर्याप्त उपकरण
computers3 | limited | Limited devices | सीमित
computers3 | none | No devices | छैन
formats3 | all | All formats available | सबै ढाँचा उपलब्ध
formats3 | some | Some missing | केही अपुग
formats3 | none | Not available | छैन
recorded3 | separately | Recorded separately | छुट्टै अभिलेख
recorded3 | general | Within general records only | सामान्य अभिलेखभित्र मात्र
recorded3 | not_recorded | Not recorded | अभिलेख गरिँदैन
analysis3 | regular | Regular analysis | नियमित विश्लेषण
analysis3 | occasional | Occasional | कहिलेकाहीँ
analysis3 | never | Never | गरिँदैन
review3 | always | Always reviewed | सधैँ समीक्षा
review3 | sometimes | Sometimes | कहिलेकाहीँ
review3 | never | Never | करिँदैन
referral3 | systematic | Systematic referral service | व्यवस्थित प्रेषण सेवा
referral3 | informal | Informal referrals | अनौपचारिक
referral3 | no | Not provided | प्रदान गरिँदैन
protocol3 | available | Available and followed | उपलब्ध र पालना
protocol3 | available_unused | Available but not followed | उपलब्ध तर पालना हुँदैन
protocol3 | not_available | Not available | छैन
designated_ref3 | identified | Identified with agreement | सम्झौतासहित पहिचान
designated_ref3 | identified_informal | Identified informally | अनौपचारिक पहिचान
designated_ref3 | not_identified | Not identified | पहिचान छैन
travel_time | below30 | Less than 30 minutes | ३० मिनेटभन्दा कम
travel_time | m30_60 | 30-60 minutes | ३०-६० मिनेट
travel_time | h1_2 | 1-2 hours | १-२ घण्टा
travel_time | above2 | More than 2 hours | २ घण्टाभन्दा बढी
feedback3 | regular | Regular feedback | नियमित पृष्ठपोषण
feedback3 | occasional | Occasional | कहिलेकाहीँ
feedback3 | never | Never | प्राप्त हुँदैन
ambulance3 | facility_based | Facility-based ambulance | संस्थाकै एम्बुलेन्स
ambulance3 | shared_oncall | Shared or on-call service | साझा वा अन-कल सेवा
ambulance3 | not_available | Not available | उपलब्ध छैन
equipped3 | equipped | Fully equipped | पूर्ण सुसज्जित
equipped3 | basic | Basic equipment only | आधारभूत मात्र
equipped3 | not_equipped | Not equipped | सुसज्जित छैन
driver3 | dedicated | Dedicated trained driver | छुट्टै तालिमप्राप्त चालक
driver3 | oncall | On-call driver | अन-कल चालक
driver3 | none | Not available | छैन
alt_transport3 | identified | Identified and arranged | पहिचान र व्यवस्थित
alt_transport3 | informal | Informal options | अनौपचारिक विकल्प
alt_transport3 | none | Not identified | पहिचान छैन
directory3 | updated | Updated directory available | अद्यावधिक निर्देशिका छ
directory3 | outdated | Outdated | पुरानो
directory3 | none | Not available | छैन
pathway3 | defined | Defined pathway | परिभाषित मार्ग
pathway3 | general | General referral only | सामान्य प्रेषण मात्र
pathway3 | none | Not defined | परिभाषित छैन
mobilize3 | yes_arranged | Yes, arrangements exist | व्यवस्था छ
mobilize3 | possible_informal | Possible informally | अनौपचारिक रूपमा सम्भव
mobilize3 | no | Not possible | सम्भव छैन
coord3 | regular | Regular coordination | नियमित समन्वय
coord3 | occasional | Occasional | कहिलेकाहीँ
coord3 | none | No coordination | छैन
coord3b | regular | Regular coordination | नियमित समन्वय
coord3b | occasional | Occasional | कहिलेकाहीँ
coord3b | none | No coordination | छैन
drill3 | within_year | Within the last year | गएको एक वर्षभित्र
drill3 | y1_2 | 1-2 years ago | १-२ वर्षअघि
drill3 | never | Never conducted | कहिल्यै गरिएको छैन
drill3b | within_year | Within the last year | गएको एक वर्षभित्र
drill3b | y1_2 | 1-2 years ago | १-२ वर्षअघि
drill3b | never | Never conducted | कहिल्यै गरिएको छैन
included3 | explicit | Explicitly included | स्पष्ट समावेश
included3 | mentioned | Briefly mentioned | संक्षेपमा उल्लेख
included3 | not_included | Not included | समावेश छैन
hics3 | established | Established and staff oriented | स्थापित र अभिमुखीकृत
hics3 | paper_only | Exists on paper only | कागजमा मात्र
hics3 | not_established | Not established | स्थापित छैन
focal3 | defined_roles | Designated with defined responsibilities | जिम्मेवारीसहित तोकिएको
focal3 | designated_unclear | Designated, responsibilities unclear | जिम्मेवारी अस्पष्ट
focal3 | no | Not designated | तोकिएको छैन
warning3 | formal | Formal channel established | औपचारिक माध्यम
warning3 | informal | Informal (news/media) | अनौपचारिक
warning3 | no | Not received | प्राप्त हुँदैन
sop3 | available_trained | Available, staff trained | उपलब्ध र तालिमसहित
sop3 | available_only | Available, no training | तालिमबिना उपलब्ध
sop3 | not_available | Not available | छैन
identified3 | identified | Identified and documented | पहिचान र अभिलेख
identified3 | partially | Partially identified | आंशिक
identified3 | not_identified | Not identified | पहिचान छैन
identified3b | identified | Identified and documented | पहिचान र अभिलेख
identified3b | partially | Partially identified | आंशिक
identified3b | not_identified | Not identified | पहिचान छैन
evac3 | defined_marked | Defined with marked routes | मार्ग चिह्नसहित परिभाषित
evac3 | defined_only | Defined, not marked | चिह्नबिना
evac3 | not_defined | Not defined | परिभाषित छैन
practice3 | yes_systematic | Yes, systematically | व्यवस्थित रूपमा
practice3 | sometimes | Sometimes | कहिलेकाहीँ
practice3 | no | No | थपिँदैन
activation3 | activated | Yes, activated | सक्रिय गरिएको
activation3 | partially | Partially activated | आंशिक
activation3 | never | Never | कहिल्यै गरिएको छैन
trigger3 | defined | Defined thresholds | परिभाषित सीमा
trigger3 | informal | Informal judgment | अनौपचारिक निर्णय
trigger3 | none | Not defined | छैन
dissem3 | systematic | Systematically | व्यवस्थित रूपमा
dissem3 | occasional | Occasionally | कहिलेकाहीँ
dissem3 | never | Never | गरिँदैन
review3b | annually | Yes, annually | वार्षिक रूपमा
review3b | irregular | Irregularly | अनियमित
review3b | never | Never | गरिँदैन
review3c | annually | Yes, annually | वार्षिक रूपमा
review3c | irregular | Irregularly | अनियमित
review3c | never | Never | गरिँदैन
heat_area3 | recurrent | Yes, recurrent extreme heat | बारम्बार चरम गर्मी
heat_area3 | occasional | Occasional heat events | कहिलेकाहीँ
heat_area3 | rare | Rare | विरलै
max_temp | above42 | Above 42°C | ४२° से. भन्दा माथि
max_temp | t38_42 | 38-42°C | ३८-४२° से.
max_temp | below38 | Below 38°C | ३८° से. भन्दा कम
max_temp | unknown | Not known | थाहा छैन
uhi3 | dense_urban | Dense urban core | घना सहरी क्षेत्र
uhi3 | semi_urban | Semi-urban | अर्ध-सहरी
uhi3 | rural_open | Rural or open area | ग्रामीण-खुला क्षेत्र
paved3 | mostly | Mostly paved | अधिकांश पक्की
paved3 | mixed | Mixed | मिश्रित
paved3 | mostly_green | Mostly vegetated/open | अधिकांश हरियाली-खुला
flood_risk3 | high_risk | Yes, flood-prone | बाढी जोखिमयुक्त
flood_risk3 | some_risk | Some risk | केही जोखिम
flood_risk3 | no_risk | No significant risk | उल्लेख्य जोखिम छैन
pollution3 | severe | Severely affected | गम्भीर प्रभावित
pollution3 | moderate | Moderately affected | मध्यम
pollution3 | minimal | Minimal | न्यून
industry3 | nearby | Yes, nearby (<1 km) | नजिकै (<१ किमी)
industry3 | distant | Present but distant | टाढा
industry3 | none | None | छैन
shaded3b | shaded | Shaded | छायाँयुक्त
shaded3b | partial | Partially shaded | आंशिक
shaded3b | no | Not shaded | छायाँ छैन
shaded3c | shaded | Shaded | छायाँयुक्त
shaded3c | partial | Partially shaded | आंशिक
shaded3c | no | Not shaded | छायाँ छैन
monitoring3 | instruments | Yes, with instruments | उपकरणसहित
monitoring3 | informal | Informal observation | अनौपचारिक अवलोकन
monitoring3 | no | Not monitored | अनुगमन गरिँदैन
access3 | available | Yes, maps available | नक्सा उपलब्ध
access3 | aware_no_access | Aware but no access | जानकारी छ, पहुँच छैन
access3 | no | No access | पहुँच छैन
hazards_catchment | flood | Flood | बाढी
hazards_catchment | landslide | Landslide | पहिरो
hazards_catchment | earthquake | Earthquake | भूकम्प
hazards_catchment | fire | Fire | आगलागी
hazards_catchment | windstorm | Windstorm | हावाहुरी
hazards_catchment | epidemic | Epidemics | महामारी
hazards_catchment | cold_wave | Cold wave | शीतलहर
hazards_catchment | other | Other | अन्य
iec3 | displayed | Available and displayed | उपलब्ध र प्रदर्शित
iec3 | available_only | Available, not displayed | प्रदर्शित छैन
iec3 | none | Not available | छैन
comm_channels | fchv | FCHVs | मस्वास्वसे
comm_channels | fm | FM radio | एफएम
comm_channels | social | Social media | सामाजिक सञ्जाल
comm_channels | mikeing | Miking | माइकिङ
comm_channels | meetings | Community meetings | सामुदायिक भेला
comm_channels | iec | IEC materials | IEC सामग्री
comm_channels | other | Other | अन्य
feedback3b | formal | Formal mechanism | औपचारिक संयन्त्र
feedback3b | informal | Informal | अनौपचारिक
feedback3b | none | None | छैन
targeting3 | targeted | Yes, specifically targeted | विशेष लक्षित
targeting3 | general | General messages only | सामान्य सन्देश मात्र
targeting3 | none | No messaging | सन्देश छैन
gedsi3 | integrated | Systematically integrated | व्यवस्थित समावेश
gedsi3 | partial | Partially | आंशिक
gedsi3 | not_considered | Not considered | विचार गरिएको छैन
access_info3 | accessible | Accessible formats available | पहुँचयोग्य ढाँचा उपलब्ध
access_info3 | partial | Partially | आंशिक
access_info3 | no | Not accessible | पहुँचयोग्य छैन
languages3 | local | Available in local languages | स्थानीय भाषामा उपलब्ध
languages3 | nepali_only | Nepali only | नेपालीमा मात्र
languages3 | none | Not available | छैन
campaigns3 | annual | Yes, annually before summer | गर्मीअघि वार्षिक
campaigns3 | occasional | Occasionally | कहिलेकाहीँ
campaigns3 | never | Never | गरिँदैन
list3 | maintained | List maintained and updated | सूची अद्यावधिक
list3 | outdated | Outdated list | पुरानो सूची
list3 | none | No list | सूची छैन
involved3 | active | Actively involved | सक्रिय संलग्न
involved3 | consulted | Occasionally consulted | कहिलेकाहीँ परामर्श
involved3 | not_involved | Not involved | संलग्न छैनन्
considered3 | systematic | Systematically considered | व्यवस्थित रूपमा
considered3 | occasionally | Occasionally | कहिलेकाहीँ
considered3 | never | Not considered | विचार गरिँदैन
preferred3 | always | Always preferred | सधैँ प्राथमिकता
preferred3 | sometimes | Sometimes | कहिलेकाहीँ
preferred3 | never | Not considered | विचार गरिँदैन
maintenance3 | scheduled | Regular scheduled maintenance | नियमित तालिकाबद्ध मर्मत
maintenance3 | breakdown_only | Breakdown maintenance only | बिग्रेपछि मात्र
maintenance3 | none | No maintenance | मर्मत हुँदैन
monitored3 | recorded | Monitored and recorded | अनुगमन र अभिलेख
monitored3 | bills_only | Bills only | बिल मात्र
monitored3 | not_monitored | Not monitored | अनुगमन गरिँदैन
practiced3 | multiple | Multiple measures practiced | धैरे उपाय
practiced3 | some | Some measures | केही उपाय
practiced3 | none | No measures | छैन
renewable3 | significant | Significant use (solar etc.) | उल्लेख्य प्रयोग
renewable3 | minimal | Minimal use | न्यून
renewable3 | none | Not used | प्रयोग गरिँदैन
policy3 | adopted | Policy adopted | नीति अपनाइएको
policy3 | draft | Draft/under discussion | मस्यौदा-छलफलमा
policy3 | none | No policy | नीति छैन
reviewed3 | periodic | Reviewed periodically | आवधिक समीक्षा
reviewed3 | once | Reviewed once | एक पटक
reviewed3 | never | Never reviewed | गरिएको छैन
waste3 | sound | Environmentally sound practices | वातावरणमैत्री अभ्यास
waste3 | basic | Basic practices | आधारभूत
waste3 | unsound | Unsafe practices | असुरक्षित
measures3 | multiple | Multiple measures adopted | धेरै उपाय
measures3 | some | Some measures | केही
measures3 | none | No measures | छैन

## settings
form_title | form_id | version | default_language | style
Hospital Facility-Level survey Questionnaire / अस्पताल संस्थागत स्तर मूल्याङ्कन प्रश्नावली | hospital_facility_survey_v1 | 2026071701 | English (en) | theme-grid pages