# Health Post survey Questionnaire / स्वास्थ्य चौकी मूल्याङ्कन प्रश्नावली

Language: English (en)

| S.N. | Question & Details | Options / Input Format |
| --- | --- | --- |
|  | SECTION: G0 — SURVEY INFORMATION & CONSENT |  |
| 1 | Name of the surevyor * | .................................................. |
| 2 | Date of the survey * | [ Date: DD / MM / YYYY ] |
| 3 | Name of the main respondent * | .................................................. |
| 4 | Designation of the main respondent * | .................................................. |
| 5 | Gender of the respondent * | □ Male □ Female □ Other □ Prefer not to say |
| 6 | Contact number of the main respondent | .................................................. |
| 7 | Has the respondent given informed consent to participate in this survey? * | □ Yes □ No |
| 8 | Consent was not given. Please thank the respondent and end the survey. | — |
|  | SECTION: S1 — FACILITY IDENTITY & REGISTRATION |  |
| 9 | What is the name of the health post? * | .................................................. |
| 10 | What is the official health facility code (HMIS/NHFR)? | .................................................. |
| 11 | What type of facility is this? * | □ Health Post □ Basic Health Service Center □ Urban Health Center |
| 12 | What is the ownership/management type of this facility? * | □ Government □ Community □ Private □ NGO-managed □ Other |
| 13 | Name of the parent organization or managing authority | .................................................. |
| 14 | In which year was this facility established? (BS) * | [ Number: ____________ ] |
| 15 | In which Municipality/Rural Municipality is the facility located? * | .................................................. |
| 16 | Ward number of the facility * | [ Number: ____________ ] |
| 17 | Settlement/tole/local address of the facility | .................................................. |
| 18 | GPS coordinates of the facility * | [ geopoint ] |
| 19 | Official contact number of the facility | .................................................. |
| 20 | Primary source of the facility registration information | □ Ministry/Department registry □ Municipality record □ Facility record □ Other |
| 21 | Name of the Facility In-charge * | .................................................. |
| 22 | Designation/cadre of the Facility In-charge (HA/Sr.AHW/Staff Nurse/Other) * | □ Health Assistant (HA) □ Senior AHW □ Staff Nurse □ Other |
| 23 | Specify the other designation * | .................................................. |
| 24 | Contact number of the Facility In-charge | .................................................. |
| 25 | Is an updated organizational structure (organogram) available? * | □ Available and updated □ Available but outdated □ Not available |
|  | SECTION: S2 — HUMAN RESOURCES & TRAINING |  |
| 26 | **Staffing Levels & Cadres** | — |
| 27 | Total number of sanctioned staff positions at this facility * | [ Number: ____________ ] |
| 28 | Total number of sanctioned positions currently filled * | [ Number: ____________ ] |
| 29 | Is a Health Assistant (HA) available at this facility? * | □ Yes □ No |
| 30 | Number of Health Assistants (HA) * | [ Number: ____________ ] |
| 31 | Is a Senior AHW (Sr.AHW) available at this facility? * | □ Yes □ No |
| 32 | Number of Senior AHWs * | [ Number: ____________ ] |
| 33 | Is an AHW available at this facility? * | □ Yes □ No |
| 34 | Number of AHWs * | [ Number: ____________ ] |
| 35 | Is an ANM available at this facility? * | □ Yes □ No |
| 36 | Number of ANMs * | [ Number: ____________ ] |
| 37 | Is a Staff Nurse available at this facility? * | □ Yes □ No |
| 38 | Number of Staff Nurses * | [ Number: ____________ ] |
| 39 | Is a Lab Assistant available at this facility? * | □ Yes □ No |
| 40 | Number of Lab Assistants * | [ Number: ____________ ] |
| 41 | Is a Pharmacy Assistant available at this facility? * | □ Yes □ No |
| 42 | Number of Pharmacy Assistants * | [ Number: ____________ ] |
| 43 | Is an Office Assistant available at this facility? * | □ Yes □ No |
| 44 | Number of Office Assistants * | [ Number: ____________ ] |
| 45 | Is a CMA (Community Medical Assistant) available at this facility? * | □ Yes □ No |
| 46 | Number of CMAs * | [ Number: ____________ ] |
| 47 | Number of support staff (cook, cleaner, helper, security combined) * | [ Number: ____________ ] |
| 48 | Any other clinical staff cadre not listed above (name and count) | .................................................. |
| 49 | **Female Community Health Volunteers (FCHVs)** | — |
| 50 | Number of FCHVs linked to this facility * | [ Number: ____________ ] |
| 51 | Has the facility designated an FCHV Focal Person? * | □ Yes, designated and active □ Designated but not active □ Not designated |
| 52 | Name of the FCHV Focal Person * | .................................................. |
| 53 | **Staff Training** | — |
| 54 | Which of the following trainings have facility staff received? * | □ EPI □ IMNCI/CB-IMNCI □ HMIS/DHIS2 □ eLMIS □ Infection Prevention □ mhGAP □ Heat-illness management |
| 55 | **Staff Management & Welfare** | — |
| 56 | Is an updated staff duty roster prepared and displayed? * | □ Prepared and displayed □ Prepared, not displayed □ Neither |
| 57 | Is daily staff attendance maintained (register/biometric)? * | □ Yes □ Partially □ No |
| 58 | Do staff have and wear identification cards? * | □ Yes □ Partially □ No |
| 59 | Are monthly staff meetings held? * | □ Regularly □ Occasionally □ Never |
| 60 | Is there an arrangement for leave replacement of essential clinical staff? * | □ Yes □ Partially □ No |
| 61 | Is staff performance evaluation conducted regularly? * | □ Regularly □ Occasionally □ Never |
| 62 | Does the facility have a staff training plan? * | □ Available and documented □ Under development or informal □ Not available |
| 63 | Are staff motivation activities (recognition, incentives) conducted? | □ Yes □ Partially □ No |
| 64 | **Birthing / SBA Staffing** | — |
| 65 | Number of SBA-trained ANMs available * | [ Number: ____________ ] |
| 66 | Is on-site or nearby accommodation available for SBA ANMs for 24-hour birthing coverage? * | □ Yes □ Partially □ No |
| 67 | **Staff Heat Protection** | — |
| 68 | Are outdoor/ORC staff protected from heat exposure during peak heat hours? * | □ Yes, protective measures provided □ Partial measures □ No measures |
| 69 | Are staff provided with adequate drinking water and rest breaks during extreme heat? * | □ Always □ Sometimes □ Never |
|  | SECTION: S3 — SERVICES & OPERATING PROFILE |  |
| 70 | Which of the following services does this facility provide? * | □ OPD □ Immunization/Growth Monitoring □ Family Planning □ ANC/PNC □ Birthing Centre □ DOTS (TB/HIV) □ DIRP (Dressing/Injection) □ Dispensary □ Laboratory □ Emergency □ Outreach (ORC/EPI) □ Mental Health |
| 71 | What are the OPD operating hours? * | □ 10 AM – 4 PM □ Extended hours □ 24 hours |
| 72 | What are the emergency service hours? * | □ 10 AM – 5 PM □ Extended hours □ 24 hours |
| 73 | Does the facility operate during public holidays? * | □ Yes, full services □ Emergency services only □ Closed |
| 74 | Average number of patients seen per day * | [ Number: ____________ ] |
| 75 | Does patient flow increase on hot days? * | □ Yes, significant increase □ Slight increase □ No noticeable change |
|  | SECTION: S4 — SERVICE STANDARDS (MSS-BASED MODULES) |  |
| 76 | **OPD Services** | — |
| 77 | Is a dedicated OPD room/space available and adequate? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 78 | Is the OPD room adequately lit and ventilated? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 79 | Is an IEC corner/materials display available in OPD? * | □ Yes □ Partially □ No |
| 80 | Are Standard Treatment Protocols (STP) used in OPD? * | □ Yes □ Partially □ No |
| 81 | Is trained staff assigned to key OPD service areas? * | □ Yes □ Partially □ No |
| 82 | Does OPD staff have basic CPR/resuscitation capability? * | □ Yes □ Partially □ No |
| 83 | Is waiting space adequate (approx. 5–10 person capacity)? * | □ More than 10 □ 5–10 □ Fewer than 5 |
| 84 | Is ICD-10 coding used for diagnosis recording? * | □ Yes □ Partially □ No |
| 85 | Is the OPD register properly maintained? * | □ Maintained and up to date □ Maintained but incomplete □ Not maintained |
| 86 | Are IPC supplies (masks, gloves) available in OPD? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 87 | Is the 3-bin healthcare waste management (HCWM) system in place in OPD? * | □ Yes □ Partially □ No |
| 88 | Is chlorine solution available for disinfection in OPD? * | □ Available and accessible □ Available but limited access □ Not available |
| 89 | **Immunization & Growth Monitoring** | — |
| 90 | Is trained staff assigned to immunization/growth monitoring services? * | □ Yes □ Partially □ No |
| 91 | Is privacy maintained during immunization/growth monitoring sessions? * | □ Yes □ Partially □ No |
| 92 | Are IEC materials available for immunization/growth monitoring? * | □ Yes □ Partially □ No |
| 93 | Is MSS-required immunization/growth monitoring equipment available and functional? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 94 | Are Standard Treatment/Service Protocols used for immunization services? * | □ Yes □ Partially □ No |
| 95 | **Family Planning Services** | — |
| 96 | Is a private space available for family planning counselling/services? * | □ Yes □ Partially □ No |
| 97 | Is FP counselling routinely provided? * | □ Yes □ Partially □ No |
| 98 | Are FP IEC/BCC materials available? * | □ Yes □ Partially □ No |
| 99 | Are FP commodities (pills, condoms, injectables etc.) in adequate stock? * | □ Adequate, no stock-outs □ Adequate but occasional stock-outs □ Frequent stock-outs |
| 100 | Is BP set, stethoscope, thermometer, and weighing scale available and functional for FP services? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 101 | Are Standard Treatment Protocols used for FP services? * | □ Yes □ Partially □ No |
| 102 | **ANC / PNC Services** | — |
| 103 | Is a separate area available for ANC/PNC services? * | □ Yes □ Partially □ No |
| 104 | Is ANC/PNC counselling routinely provided? * | □ Yes □ Partially □ No |
| 105 | Is ANC/PNC equipment available and functional? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 106 | Are Standard Treatment Protocols used for ANC/PNC? * | □ Yes □ Partially □ No |
| 107 | Is ANC/PNC recording (register/MCHP) properly maintained? * | □ Maintained and up to date □ Maintained but incomplete □ Not maintained |
| 108 | **Birthing Centre Services** | — |
| 109 | Is the birthing centre operational 24 hours? * | □ Yes □ Partially □ No |
| 110 | Are separate ANC/waiting and delivery rooms available? * | □ Yes □ Partially □ No |
| 111 | Are at least 2 SBA-trained staff available for birthing services? * | □ Yes □ Partially □ No |
| 112 | Is a Kangaroo Mother Care (KMC) table/space available? * | □ Yes □ Partially □ No |
| 113 | Is birth registration facilitated at the birthing centre? * | □ Yes □ Partially □ No |
| 114 | Is danger-sign education provided to mothers? * | □ Yes □ Partially □ No |
| 115 | Is FP and breastfeeding counselling provided postnatally? * | □ Yes □ Partially □ No |
| 116 | Are birthing/maternal health IEC materials available? * | □ Yes □ Partially □ No |
| 117 | Is birthing centre equipment (delivery set, resuscitation, etc.) available and functional? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 118 | Is DBS (Dried Blood Spot) referral to ART services available? * | □ Yes □ Partially □ No |
| 119 | Is Nevirapine (PMTCT) available in adequate stock? * | □ Adequate, no stock-outs □ Adequate but occasional stock-outs □ Frequent stock-outs |
| 120 | **DOTS / TB-HIV Services** | — |
| 121 | Is trained staff assigned to DOTS services? * | □ Yes □ Partially □ No |
| 122 | Are TB/HIV IEC materials available? * | □ Yes □ Partially □ No |
| 123 | Is symptom screening and sputum collection conducted? * | □ Yes □ Partially □ No |
| 124 | Are samples referred appropriately for testing? * | □ Yes □ Partially □ No |
| 125 | Are Category I/II TB medicines available in adequate stock? * | □ Adequate, no stock-outs □ Adequate but occasional stock-outs □ Frequent stock-outs |
| 126 | Are Standard Treatment Protocols used for DOTS services? * | □ Yes □ Partially □ No |
| 127 | **Dressing, Injection & Related Procedures (DIRP)** | — |
| 128 | Are separate dressing and injection areas available? * | □ Yes □ Partially □ No |
| 129 | Are dressing/injection/related procedure services routinely available? * | □ Yes □ Partially □ No |
| 130 | Are DIRP supplies available and functional? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 131 | **Dispensary / Pharmacy** | — |
| 132 | Is a dedicated dispensing area available? * | □ Yes □ Partially □ No |
| 133 | Is a copy of the National List of Essential Medicines/Formulary (NNF) available? * | □ Yes □ Partially □ No |
| 134 | Is the dispensary open throughout OPD hours? * | □ Yes □ Partially □ No |
| 135 | Is trained mid-level staff assigned to dispensing? * | □ Yes □ Partially □ No |
| 136 | Is the free-medicine list displayed? * | □ Yes □ Partially □ No |
| 137 | Are essential medicines available year-round (no stock-outs)? * | □ Adequate, no stock-outs □ Adequate but occasional stock-outs □ Frequent stock-outs |
| 138 | Is dispensary room temperature (25±2°C) monitored and recorded? * | □ Yes □ Partially □ No |
| 139 | Are written patient instructions provided with dispensed medicines? * | □ Yes □ Partially □ No |
| 140 | Are dispensary IEC materials available? * | □ Yes □ Partially □ No |
| 141 | Is FEFO (First-Expiry-First-Out) practiced in dispensing? * | □ Yes □ Partially □ No |
| 142 | Is pharmaceutical waste managed per DDA guidelines? * | □ Yes □ Partially □ No |
| 143 | **Laboratory Services** | — |
| 144 | What type of laboratory service is available? * | □ General □ Type A □ Type B □ Type C |
| 145 | Is a designated, separate laboratory space available? * | □ Yes □ Partially □ No |
| 146 | Is trained laboratory staff assigned? * | □ Yes □ Partially □ No |
| 147 | Are the basic MSS-required tests performed at this facility? * | □ Yes □ Partially □ No |
| 148 | Is laboratory equipment available and functional? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 149 | Are reagents stored under appropriate conditions (temperature-controlled)? * | □ Temperature-controlled □ Partially controlled □ Not controlled |
| 150 | **Sterilization & Infection Prevention** | — |
| 151 | Is a designated sterilization area with water supply available? * | □ Yes □ Partially □ No |
| 152 | Are sterilization tools/equipment functional? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 153 | Are sterilization inspection/monitoring records maintained? * | □ Maintained and up to date □ Maintained but incomplete □ Not maintained |
| 154 | Is PPE available and consistently used by staff? * | □ Available and consistently used □ Available, inconsistently used □ Not available |
| 155 | Is MSS-required IPC/sterilization equipment available and functional? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
|  | SECTION: S5 — MEDICAL RECORDS, REPORTING & SURVEILLANCE |  |
| 156 | **Records & Reporting** | — |
| 157 | Are standard registers used and properly maintained across services? * | □ Maintained and up to date □ Maintained but incomplete □ Not maintained |
| 158 | Are referral records maintained both in HMIS and facility registers? * | □ Yes □ Partially □ No |
| 159 | Are FCHV records compiled monthly? * | □ Regularly □ Occasionally □ Never |
| 160 | Is monthly HMIS reporting submitted through local government? * | □ Regularly □ Occasionally □ Never |
| 161 | Is quarterly service-utilization review conducted? * | □ Regularly □ Occasionally □ Never |
| 162 | Are facility statistics displayed against targets? * | □ Yes □ Partially □ No |
| 163 | Is staff assigned for records management, with in-charge verification? * | □ Yes □ Partially □ No |
| 164 | Does the in-charge coordinate with stakeholders (local government, partners)? * | □ Regular coordination □ Occasional □ No coordination |
| 165 | **eLMIS & Heat Surveillance** | — |
| 166 | What is the current status of eLMIS use for FY 2081/82? * | □ Actively used and updated □ Partially used □ Not used |
| 167 | Are heat-related illness diagnoses recorded separately from other diagnoses? * | □ Yes □ Partially □ No |
| 168 | Is temperature–illness trend analysis conducted at the facility? | □ Yes □ Partially □ No |
| 169 | Is heat-attributable death recording practiced when applicable? | □ Yes □ Partially □ No |
| 170 | Is upward reporting done to authorities during heat events? * | □ Yes □ Partially □ No |
|  | SECTION: S6 — REFERRAL & EMERGENCY TRANSPORT |  |
| 171 | What is the status of referral services at this facility? * | □ Regular service □ Irregular service □ Not available |
| 172 | Is a referral protocol/SOP available? * | □ Available and documented □ Under development or informal □ Not available |
| 173 | Name of the designated referral hospital * | .................................................. |
| 174 | Travel time to the referral hospital under normal conditions * | □ Less than 30 minutes □ 30–60 minutes □ 1–2 hours □ More than 2 hours |
| 175 | Travel time to the referral hospital during rainy season/disrupted roads * | □ Less than 30 minutes □ 30–60 minutes □ 1–2 hours □ More than 2 hours |
| 176 | What means of referral transport are available? * | □ Ambulance □ Stretcher □ Motorbike □ Other |
| 177 | Is functional phone communication available for coordinating referrals? * | □ Yes □ Partially □ No |
| 178 | Is an emergency contact list (including heat-related contacts) displayed? * | □ Yes □ Partially □ No |
|  | SECTION: S7 — INFRASTRUCTURE, UTILITIES & WASH |  |
| 179 | **Electricity & Power** | — |
| 180 | Is electricity supply reliable during service hours? * | □ Reliable, rare interruptions □ Frequent interruptions □ Highly unreliable |
| 181 | Is backup power functional for essential equipment (vaccine fridge, lighting)? * | □ Available and functional □ Available but not functional □ Not available |
| 182 | Is fuel inventory for backup power maintained? * | □ Adequate stock maintained □ Limited stock □ No stock |
| 183 | Have heat-induced power outages occurred? * | □ Yes, frequently □ Yes, occasionally □ Never |
| 184 | Is the cold chain connected to reliable/backup power? * | □ Yes □ Partially □ No |
| 185 | Are service rooms adequately lit and ventilated? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 186 | **Water Supply** | — |
| 187 | What is the primary/dedicated water source of the facility? * | □ Piped water supply □ Well/borewell □ Tanker supply □ Other |
| 188 | Is water storage covered, cleaned, and holding ≥2 days' supply? * | □ Covered, clean, ≥2 days' supply □ Meets some criteria □ Does not meet criteria |
| 189 | Is annual water quality testing conducted? * | □ Yes □ Partially □ No |
| 190 | Has the facility faced water shortage during summer? * | □ Yes, frequently □ Yes, occasionally □ Never |
| 191 | Is safe drinking water available for patients? * | □ Available and safe □ Available but quality uncertain □ Not available |
| 192 | **Sanitation Facilities** | — |
| 193 | Are separate toilets available for male, female, and persons with disability? * | □ Separate M/F/disability toilets available □ Some categories available □ Not separated |
| 194 | Are functional handwashing stations available at key points? * | □ Available at all key points □ Available at some points □ Not available |
| 195 | **Waste Management** | — |
| 196 | Is the 3-bin healthcare waste management system in place facility-wide? * | □ Yes □ Partially □ No |
| 197 | Are special waste-handling measures taken during the hot season? | □ Yes □ Partially □ No |
| 198 | **Accessibility & Inclusion** | — |
| 199 | Is the facility accessible year-round by road/footpath? * | □ Blacktopped □ Graveled □ Earthen □ Other |
| 200 | Is a wheelchair ramp available? * | □ Yes □ Partially □ No |
| 201 | Are interior spaces wheelchair-accessible? * | □ Yes □ Partially □ No |
| 202 | Is directional/service signage available? | □ Yes □ Partially □ No |
| 203 | Is priority seating available for elderly/pregnant/disabled patients? | □ Yes □ Partially □ No |
| 204 | **Safety, Security & Emergency Preparedness** | — |
| 205 | Is a functional fire extinguisher available? * | □ Available and accessible □ Available but limited access □ Not available |
| 206 | Are emergency exits clearly marked? * | □ Yes □ Partially □ No |
| 207 | Is a designated assembly point identified? | □ Yes □ Partially □ No |
| 208 | Is compound security (boundary wall/gate/guard) adequate? | □ Yes □ Partially □ No |
| 209 | Is outdoor lighting adequate for night safety? | □ Yes □ Partially □ No |
| 210 | Is the facility compound secured with fencing, gates, or other protective measures? | □ Fully secured □ Partially secured □ Not secured |
| 211 | Is a dedicated ambulance stopping/loading area available? | □ Yes □ Partially □ No |
| 212 | **Communication & Digital Infrastructure** | — |
| 213 | Is mobile or landline phone connectivity available? * | □ Yes □ Partially □ No |
| 214 | Is internet connectivity available? * | □ Yes □ Partially □ No |
| 215 | Are computers/printers/charging facilities available? | □ Yes □ Partially □ No |
| 216 | Is secure storage available for physical/digital records? * | □ Yes □ Partially □ No |
|  | SECTION: S8 — COLD CHAIN & HEAT-CRITICAL SUPPLIES |  |
| 217 | **Cold Chain Management** | — |
| 218 | Is the vaccine fridge functional and maintaining approximately 4°C? * | □ Functional at target temp □ Functional, temp out of range □ Not functional |
| 219 | Is the vaccine fridge connected to backup power? * | □ Yes □ Partially □ No |
| 220 | Are cold-chain temperature logs maintained twice daily? * | □ Maintained twice daily □ Maintained once daily □ Not maintained |
| 221 | Is a cold box/vaccine carrier with ice packs available? * | □ Available and accessible □ Available but limited access □ Not available |
| 222 | Has cold-chain failure occurred, and were items affected? * | □ Yes, frequently □ Yes, occasionally □ Never |
| 223 | Is there a contingency plan for cold-chain failure? * | □ Available and documented □ Under development or informal □ Not available |
| 224 | **Emergency & Heat-Response Supplies** | — |
| 225 | Is ORS available with no stock-outs? * | □ Adequate, no stock-outs □ Adequate but occasional stock-outs □ Frequent stock-outs |
| 226 | Are IV fluids available for at least a 3-day surge? * | □ More than 3 days □ Exactly 3 days □ Less than 3 days |
| 227 | Are clinical thermometers available in OPD? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 228 | Are emergency cooling materials available (ice packs, cold water, cloth/fan)? * | □ All items available □ Some items available □ Not available |
| 229 | Is buffer stock maintained with monthly tally? * | □ Yes □ Partially □ No |
| 230 | Has heat damage to medicines/equipment been observed? * | □ Yes, frequently □ Yes, occasionally □ Never |
| 231 | Is pre-summer servicing done for fans/coolers/fridges? | □ Yes □ Partially □ No |
| 232 | Is a designated ORS preparation/distribution point available? | □ Yes □ Partially □ No |
| 233 | Number of functional clinical thermometers available at the facility * | [ Number: ____________ ] |
|  | SECTION: S9 — ENVIRONMENT & SITE CONTEXT |  |
| 234 | **Heat & Climate Exposure** | — |
| 235 | Is this a recurrent-heat area? * | □ Yes, recurrent extreme heat □ Occasional heat events □ Rare |
| 236 | What is the maximum outdoor temperature typically experienced? * | □ Above 42°C □ 38–42°C □ Below 38°C □ Not known |
| 237 | Is the facility located in a dense built-up/urban-heat-island area? * | □ Dense urban core □ Semi-urban □ Rural or open area |
| 238 | What proportion of the facility surroundings has tree cover/green space? * | □ More than 30% □ 10–30% □ Less than 10% □ Almost none |
| 239 | Are the facility surroundings mostly paved? * | □ Mostly paved □ Mixed □ Mostly vegetated/open |
| 240 | Is the facility prone to flooding or near a water body? * | □ Yes, flood-prone □ Some risk □ No significant risk |
| 241 | Is the facility exposed to dust/pollution? * | □ Severely affected □ Moderately affected □ Minimal |
| 242 | Are industrial or waste sites located nearby? * | □ Yes, nearby (<1 km) □ Present but distant □ none |
| 243 | Does monsoon waterlogging affect the facility? * | □ Yes, frequently □ Yes, occasionally □ Never |
| 244 | Is compound drainage adequate? * | □ Adequate drainage □ Partially adequate □ Poor/blocked |
| 245 | **Shade & Heat Mitigation** | — |
| 246 | Is outdoor waiting space shaded? * | □ Adequately shaded □ Partially shaded □ Not shaded |
| 247 | Are walkways within the compound shaded? * | □ All areas protected □ Some areas protected □ Not protected |
| 248 | Is a safe shaded space designated for patients/staff during extreme heat? * | □ Yes □ Partially □ No |
| 249 | **Environmental Monitoring & Risk Awareness** | — |
| 250 | Is environmental monitoring (temperature, air quality) conducted? | □ Yes, with instruments □ Informal observation □ Not monitored |
| 251 | Does the facility have access to a local hazard map? * | □ Yes, maps available □ Aware but no access □ No access |
| 252 | Have climate-sensitive risks been identified for this facility? * | □ Identified and documented □ Partially identified □ Not identified |
| 253 | What hazards affect the facility's catchment area? * | □ Flood □ Landslide □ Earthquake □ Fire □ Windstorm □ Epidemics □ Cold wave □ Heatwave □ Other |
| 254 | Does the facility coordinate with agencies for climate information? | □ Regular coordination □ Occasional □ No coordination |
|  | SECTION: S10 — DISASTER & HEAT EVENT HISTORY |  |
| 255 | **General Disaster History (Last 10 Years)** | — |
| 256 | Has this facility been affected by any disaster in the last 10 years? * | □ Yes □ No |
| 257 | Which hazard types has the facility experienced? * | □ Flood □ Landslide □ Earthquake □ Fire □ Windstorm □ Epidemic □ Heatwave □ Cold wave □ Other |
| 258 | In which year (BS) did the most severe event occur? * | [ Number: ____________ ] |
| 259 | How long were services disrupted during that event? * | □ Less than 1 day □ 1–3 days □ 4–7 days □ More than 1 week |
| 260 | What was the level of impact on patients? * | □ Severe □ Moderate □ Minor |
| 261 | What was the level of impact on staff? * | □ Severe □ Moderate □ Minor |
| 262 | What was the extent of building damage? * | □ Major structural damage □ Minor/repairable damage □ No damage |
| 263 | Approximately what percentage of buildings were affected? * | □ More than 75% □ 25–75% □ Less than 25% |
| 264 | How long did recovery take? * | □ Less than 1 week □ 1–4 weeks □ More than 1 month |
| 265 | **Heatwave Event History (Last 5 Years)** | — |
| 266 | Has the facility experienced heatwaves in the last 5 years? * | □ Yes □ No |
| 267 | How many distinct heatwave events in the last 5 years? (drives the event repeat below, capped at 5) * | [ Number: ____________ ] |
|  | SECTION: HEATWAVE EVENT DETAILS |  |
| 268 | Year and month (BS) of this heatwave event * | .................................................. |
| 269 | Duration of the event (days) * | [ Number: ____________ ] |
| 270 | Was there a patient surge during this event? * | □ Yes □ Partially □ No |
| 271 | Number of heat-attributable deaths recorded, if any | [ Number: ____________ ] |
| 272 | Were services disrupted during this event? * | □ Yes □ Partially □ No |
| 273 | What response/action was taken during this event? | .................................................. |
| 274 | Have post-disaster improvements been implemented at this facility? * | □ Yes □ Partially □ No |
| 275 | Which DRR measures have been undertaken? | □ Retrofitting □ Plinth-level protection □ Drainage improvement □ Shade planting □ Early warning system □ Emergency plan □ Emergency supplies stocked □ Staff training □ Community awareness |
|  | SECTION: S11 — HEATWAVE PREPAREDNESS & RESPONSE |  |
| 276 | **Plans, Committee & Early Warning** | — |
| 277 | Is a Disaster Preparedness & Response Plan (DPRP) available, and does it include heat? * | □ Explicitly included □ Briefly mentioned □ Not included |
| 278 | Does the facility have a heatwave-specific plan/SOP? * | □ Available and documented □ Under development or informal □ Not available |
| 279 | Is the Disaster Preparedness & Response Committee (DPRC) functional? * | □ Established and staff oriented □ Exists on paper only □ Not established |
| 280 | Has a heatwave focal person been designated? * | □ Designated with defined responsibilities □ Designated, responsibilities unclear □ Not designated |
| 281 | Does the facility receive DHM early warning for heatwaves? * | □ Formal channel established □ Informal (news/media) □ Not received |
| 282 | Is there a mechanism to relay warnings to staff/FCHV/community? * | □ Yes □ Partially □ No |
| 283 | **Clinical Readiness & Training** | — |
| 284 | Is a heat-illness clinical SOP/job-aid available in OPD? * | □ Available, staff trained □ Available, no training □ Not available |
| 285 | Have staff been trained on heatwave response in the past 2 years? * | □ Yes, most staff trained □ Some staff trained □ No training received |
| 286 | Has a heatwave response drill been conducted in the past 2 years? * | □ Within the last year □ 1–2 years ago □ Never conducted |
| 287 | **Response & Surge Capacity** | — |
| 288 | Are essential-service continuity priorities defined for heat events? * | □ Yes □ Partially □ No |
| 289 | Are surge arrangements (extra mats/benches/space) available? * | □ Adequate space available □ Limited space □ No space available |
| 290 | Does actual staffing increase during heat events match the plan? | □ Yes □ Partially □ No |
| 291 | Are heatwave trigger/threshold levels defined for action? * | □ Defined thresholds □ Informal judgment □ Not defined |
| 292 | Is the plan activated upon official heat warning? * | □ Yes, activated □ Partially activated □ Never |
| 293 | **Community Advisories & Plan Review** | — |
| 294 | Are heat advisories disseminated to the community? * | □ Systematically □ Occasionally □ Never |
| 295 | Is the heatwave plan reviewed annually before summer? * | □ Yes, annually □ Irregularly □ Never |
|  | SECTION: S12 — GOVERNANCE, MANAGEMENT & FINANCE |  |
| 296 | **Governance Structure** | — |
| 297 | Is the Health Facility Operation & Management Committee (HFOMC) formed per guideline? * | □ Yes □ Partially □ No |
| 298 | Is the in-charge position filled as per the organogram? * | □ Yes □ Partially □ No |
| 299 | Are HFOMC meeting minutes reviewed with follow-up on decisions? * | □ Regularly □ Occasionally □ Never |
| 300 | Is the annual plan prepared and approved on time? * | □ Yes □ Partially □ No |
| 301 | Is heat preparedness a standing agenda item in HFOMC meetings? | □ Yes □ Partially □ No |
| 302 | **Accountability & Transparency** | — |
| 303 | Is a citizen charter displayed? * | □ Yes □ Partially □ No |
| 304 | Is a complaint box available and complaints addressed? * | □ Yes □ Partially □ No |
| 305 | Is service information displayed (including at ORC/immunization sites)? * | □ Yes □ Partially □ No |
| 306 | Is the free-medicine list displayed? * | □ Yes □ Partially □ No |
| 307 | Is the Aama Surakshya beneficiary list displayed? | □ Yes □ Partially □ No |
| 308 | **Finance** | — |
| 309 | Is the annual action plan prepared based on grants received? * | □ Yes □ Partially □ No |
| 310 | Does the plan include resources from other organizations/internal income? | □ Yes □ Partially □ No |
| 311 | Are free basic services provided as per policy? * | □ Yes □ Partially □ No |
| 312 | Does HFOMC periodically review service fees? | □ Regularly □ Occasionally □ Never |
| 313 | Is Aama Surakshya/grant utilization tracked and reported? | □ Yes □ Partially □ No |
| 314 | **Coordination & Quality Assurance** | — |
| 315 | Does the facility participate in municipal/district disaster meetings? * | □ Regular participation □ Occasional □ No participation |
| 316 | Is MSS self-survey conducted every 4 months? * | □ Regularly □ Occasionally □ Never |
| 317 | Is a Quality Improvement (QI) plan prepared? * | □ Available and documented □ Under development or informal □ Not available |
| 318 | Is the QI plan implemented? * | □ Yes □ Partially □ No |
| 319 | Are Quality Assurance Committee (QAC) gap-action items implemented? | □ Yes □ Partially □ No |
| 320 | Are social-audit findings discussed in staff meetings? | □ Yes □ Partially □ No |
|  | SECTION: S13 — COMMUNITY ENGAGEMENT & GEDSI |  |
| 321 | **Community Engagement & Communication** | — |
| 322 | Does the facility have a community engagement plan? * | □ Available and documented □ Under development or informal □ Not available |
| 323 | Is heat-related messaging conducted before/during summer? * | □ Yes, specifically targeted □ General messages only □ No messaging |
| 324 | Is there FCHV coordination specifically for heat awareness? * | □ Regular coordination □ Occasional □ No coordination |
| 325 | Does the facility collaborate with local government on community health? * | □ Regular coordination □ Occasional □ No coordination |
| 326 | Are heat-related IEC materials available? * | □ Available and displayed □ Available, not displayed □ Not available |
| 327 | Which channels are used to disseminate health/heat messages? * | □ FCHVs □ FM radio □ Social media □ Miking □ Community meetings □ IEC materials □ Other |
| 328 | Is a community feedback mechanism in place? * | □ Formal mechanism □ Informal □ none |
| 329 | Are materials available in local languages and accessible formats? * | □ Available in local languages □ Nepali only □ Not available |
| 330 | Are annual community health campaigns conducted? | □ Yes, annually before summer □ Occasionally □ Never |
| 331 | Does the facility coordinate with schools/cooperatives/community groups? | □ Regular coordination □ Occasional □ No coordination |
| 332 | **GEDSI & Vulnerable Groups** | — |
| 333 | Is a list of high-risk households maintained? | □ List maintained and updated □ Outdated list □ No list |
| 334 | Are community representatives involved in facility planning? | □ Actively involved □ Occasionally consulted □ Not involved |
| 335 | Is priority queuing practiced for elderly/disabled/pregnant/emergency patients? * | □ Always preferred □ Sometimes □ Not considered |
| 336 | Are vulnerable groups specifically targeted in heat awareness activities? * | □ Yes, specifically targeted □ General messages only □ No messaging |
| 337 | Is GEDSI considered in emergency/disaster planning? * | □ Systematically considered □ Occasionally □ Not considered |
| 338 | Are services accessible for persons with disabilities (physical and informational)? * | □ Accessible formats available □ Partially □ Not accessible |
|  | SECTION: S14 — FACILITY BUILDING & STRUCTURAL CONDITION |  |
| 339 | **General Structure** | — |
| 340 | Year the main facility building was built (BS) * | [ Number: ____________ ] |
| 341 | Number of floors in the facility building * | [ Number: ____________ ] |
| 342 | What is the structural type of the facility building? * | □ RCC (reinforced concrete) □ Load-bearing masonry □ Semi-pucca □ Kutcha (temporary/mud) |
| 343 | What is the condition of walls and roof? * | □ Good condition □ Fair, needs minor repair □ Poor, needs major repair |
| 344 | Are visible cracks or structural damage present? * | □ Yes, frequently □ Yes, occasionally □ Never |
| 345 | **Ventilation & Heat Resilience** | — |
| 346 | What is the roof material? * | □ CGI sheet □ Concrete slab □ Tile □ Thatch/other |
| 347 | Does the roof have insulation or cool-roof treatment? * | □ Yes □ Partially □ No |
| 348 | Is cross-ventilation adequate in the facility building? * | □ Adequate and functional □ Available but limited or partially functional □ Not available |
| 349 | Number of functional fans in the facility building * | [ Number: ____________ ] |
| 350 | Are windows shaded (awnings, films, curtains)? * | □ Adequately shaded □ Partially shaded □ Not shaded |
| 351 | What is the typical indoor heat level in the facility during summer? * | □ Very hot, hard to work in □ Warm but manageable □ Comfortable |
| 352 | **Safety & Accessibility** | — |
| 353 | Is the facility building step-free/accessible? * | □ Yes □ Partially □ No |
| 354 | Has the facility building become unusable due to extreme heat? * | □ Yes, frequently □ Yes, occasionally □ Never |
| 355 | What is the electrical safety condition of the facility building? * | □ Good condition □ Fair, needs minor repair □ Poor, needs major repair |
| 356 | Top priority structural improvement needed for the facility building * | .................................................. |
|  | SECTION: S15 — CLOSURE & PRIORITIES |  |
| 357 | Take a photo of the facility (main building/front view) * | [ image ] |
| 358 | Surveyor's overall observations on facility heat readiness (strengths, gaps, urgent issues) * | .................................................. |
| 359 | Any additional comments from the respondent | .................................................. |